## P&G
SCHEDULE A : PRELIMINARY AND GENERAL
Item | Payment | Description | Unit | Qty | Rate | Amount
Nr. | Refer.
1 | SANS | PRELIMINARY & GENERAL ITEMS
1200A
1.1 | 8.3 | FIXED-CHARGE AND VALUE-RELATED
| PSA5.1 | ITEMS
(Note that the combined total for fixed-
charge, value-related and time-related items
shall not exceed 15% of the tender sum)
1.1.1 | 8.3.1 | Contractual Requirements | Sum | 1 |  | 0
| 8.3.2 | Establishment of Facilities on Site
1.1.2 | 8.3.2.2 | FACILITIES FOR CONTRACTOR
|  | a) Offices and storage shed | Sum | 1 |  | 0
|  | d) Living accommodation | Sum | 1 |  | 0
|  | e) Ablution and Latrine Facilities | Sum | 1 |  | 0
|  | f) Tools and equipment | Sum | 1 |  | 0
g) Water supplies, electrical power
|  | and communication | Sum | 1 |  | 0
1.1.3 | 8.3.4 | Removal of Site Establishment | Sum | 1 |  | 0
1.2 | 8.4 | SCHEDULED TIME-RELATED ITEMS
1.2.1 | 8.4.1 | Contractual Requirements | Sum | 1 |  | 0
| 8.4.2 | Operation and Maintenance of Facilities
on Site
1.2.2 | 8.4.2.2 | FACILITIES FOR CONTRACTOR
|  | a) Offices and storage shed | Sum | 1 |  | 0
|  | d) Living accommodation | Sum | 1 |  | 0
|  | e) Ablution and Latrine Facilities | Sum | 1 |  | 0
|  | f) Tools and equipment | Sum | 1 |  | 0
g) Water supplies, electrical power
|  | and communication | Sum | 1 |  | 0
1.2.3 | 8.4.3 | Supervision for Duration of Construction | Sum | 1 |  | 0
Total Carried Forward | [5 empty] | 0
SCHEDULE A : PRELIMINARY AND GENERAL (continue)
Item | Payment | Description | Unit | Qty | Rate | Amount
Nr. | Refer.
|  | Brought Forward |  |  |  | 0
1.3 | 8.5 | SUMS STATED PROVISIONALLY BY
ENGINEER
1.3.1 | 8.5 (b) | a) Topgraphical Survey | Prov Sum | 1 | - | 50000
b) Remuneration of Community Liaison Officer
|  | (CLO) | Prov Sum | 1 | - | 15000
c) Overheads, charges and profit on a) to
|  | b) above | % | 65000 |  | 0
1.4 | 8.6 | PRIME COST ITEMS
1.4.1 |  | Sum for compensation to Consulting
|  | Hydrogeologist for Geophysical investigations, | PC
|  | Geophysical field work, reporting, supervision | Sum | 1 | - | 55000
and traveling expenses during construction.
1.4.2 |  | Charges and profit on above items | % | 55000 |  | 0
1.5 | 8.8 | TEMPORARY WORKS
1.5.1 | 8.8.4 | Existing Services
1.5.1.1 |  | Excavation by hand in soft material to expose
|  | exising services | m³ | 1 |  | 0
1.5.1.2 |  | Temporary protection of existing services | Sum | 1 |  | 0
1.6 | Part C3 | OCCUPATIONAL HEALTH AND SAFETY
SPECIFICATION
Note: The sum of the amounts for these
items shall not be less than one percent
(1%) of the Tender Sum
1.6.1 | PSA5.3(a) | Contractor’s initial obligations in respect of
the Occupational Health and Safety Act and
|  | Construction Regulations | Sum | 1 |  | 0
1.6.2 | (b) | Contractor’s time related obligations in
respect of the Occupational Health and
|  | Safety Act and Construction Regulations | Month | 1 |  | 0
1.6.3 | (c) | Submission of the Health and Safety File | Sum | 1 |  | 0
Total Carried Forward | [5 empty] | 120000
SCHEDULE A : PRELIMINARY AND GENERAL (continue)
Item | Payment | Description | Unit | Qty | Rate | Amount
Nr. | Refer.
|  | Brought Forward |  |  |  | 120000
1.7 | Part C3 | ENVIRONMENTAL MANAGEMENT PLAN
1.7.1 | 3.1 | Contractor’s initial obligations in respect of
the Environmental Management Plan,
including compliance with all environmental
|  | regulations | Sum | 1 |  | 0
1.7.2 | 3.2 | Contractor’s time related obligations in
respect of the Environmental Management
Plan, including compliance with all
|  | environmental regulations | month | 1 |  | 0
1.7.3 | 3.3 | Penalty for unnecessary removal or damage
to trees for the following diameter sizes:
|  | a) 1500mm girth or less | Per tree |  | -5000 | Rate Only
|  | b) Greater than 1500mm, but less than | Per tree |  | -10000 | Rate Only
5000mm girth
1.8 | 3.4 | Penalty for serious violations:
a) Hazardous chemical/oil spill and/or
|  | dumping in non-approved sites | Incident |  | -10000 | Rate Only
|  | b) General damage to sensitive environments | Incident |  | -5000 | Rate Only
|  | c) Damage to cultural and historical sites | Incident |  | -5000 | Rate Only
|  | d) Pollution of water sources | Incident |  | -10000 | Rate Only
g) Damage to sensitive vegetation within
“no-go” areas (Depending on vegetation
damaged, plus rehabilitation thereof at
|  | Contractor’s cost) | Incident |  | -5000 | Rate Only
Total Carried Forward | [5 empty] | 120000
SCHEDULE A : PRELIMINARY AND GENERAL (continue)
Item | Payment | Description | Unit | Qty | Rate | Amount
Nr. | Refer.
|  | Brought Forward |  |  |  | 120000
1.9 | 3.5 | Penalty for less serious violations
|  | a) Littering on site | Incident |  | -1000 | Rate Only
|  | b) Lighting of illegal fires on site | Incident |  | -2000 | Rate Only
|  | c) Persistent or un-repaired fuel and oil leaks | Incident |  | -1000 | Rate Only
e) Any vehicles or equipment related to the
Contractor’s operations found within the
|  | designated “no-go” areas | Incident |  | -3000 | Rate Only
f) Excess dust or excess noise emanating
|  | from site | Incident |  | -1000 | Rate Only
h) Possession or use of intoxicating
|  | substances on site | Incident |  | -500 | Rate Only
i) Any vehicles being driven in excess of
|  | designated speed limits | Incident |  | -500 | Rate Only
j) Removal and/or damage to flora or cultural
or heritage objects on site, and/or killing
|  | of wildlife | Incident |  | -2000 | Rate Only
|  | k) Illegal hunting | Incident |  | -2000 | Rate Only
l) Urination and defecating anywhere except
|  | in designated areas | Incident |  | -500 | Rate Only
TOTAL SCHEDULE A CARRIED FORWARD TO SUMMARY | [5 empty] | 120000

## Drilling
SCHEDULE B : DRILLING OF BOREHOLES
Item | Payment | Description | Unit | Qty | Rate | Amount
Nr. | Refer.
2 |  | DRILLING OF BOREHOLES
2.1 | SANS | SITE ESTABLISHMENT
1200C
2.1.1 | 8.2.1 | Clear and grub 3m wide for access road
|  | (Provisionally) | m | 1 |  | 0
2.1.2 |  | Mobilisation and set up of plant to/at first borehole | Sum | 1 |  | 0
2.1.3 |  | Set-up of plant per boreholes (after first) up to 10km | No | 1 |  | 0
2.1.4 |  | Interhole moves
|  | For distances more than 10km | km | 1 |  | 0
2.1.5 | 8.2.5 | Take down and reinstate existing fences with
|  | written approval of the Engineer. (Provisional) | m | 1 |  | 0
DRILLING: (Unconsolidated and consolidated
sediments and igneous, metarmophic and
fractured carbonate rocks)
2.2 |  | Rotary air percussion with foam - 0 to 150m
2,2,1 |  | 165mm diameter | m | 1 |  | 0
2,2,2 |  | 203 or 216mm diameter | m | 1 |  | 0
2,2,3 |  | 254mm diameter | m | 1 |  | 0
2,2,4 |  | 305mm diameter | m | 1 |  | 0
2.3 |  | Odex (including supply, delivery & installation
of at least 6 mm sidewall Odex casing)
2,3,1 |  | 194 mm OD (including casing) | m | 1 |  | 0
2,3,2 |  | 219 mm OD (including casing) | m | 1 |  | 0
2,3,3 |  | 273 mm OD (including casing) | m | 1 |  | 0
DRILLING (Highly abrasive rocks e.g. quartzite)
2.4 |  | Rotary air percussion with foam – 0 to 150 m
2,4,1 |  | 165mm diameter | m | 1 |  | 0
2,4,2 |  | 203 or 216mm diameter | m | 1 |  | 0
2,4,3 |  | 254mm diameter | m | 1 |  | 0
2,4,4 |  | 305mm diameter | m | 1 |  | 0
Total Carried Forward | [5 empty] | 0
SCHEDULE B : DRILLING OF BOREHOLES (continue)
Item | Payment | Description | Unit | Qty | Rate | Amount
Nr. | Refer.
|  | Brought Forward |  |  |  | 0
DRILLING (Leached / cavernous carbonate rocks)
2.5 |  | Rotary air percussion with foam
2,5,1 |  | 165mm diameter | m | 1 |  | 0
2,5,2 |  | 203 or 216mm diameter | m | 1 |  | 0
2,5,3 |  | 254mm diameter | m | 1 |  | 0
2,5,4 |  | 305mm diameter | m | 1 |  | 0
2.6 |  | Odex (including supply, delivery & installation
of at least 6 mm sidewall Odex casing)
2,6,1 |  | 194 mm OD (including casing) | m | 1 |  | 0
2,6,2 |  | 219 mm OD (including casing) | m | 1 |  | 0
2,6,3 |  | 273 mm OD (including casing) | m | 1 |  | 0
CASING (supplied, delivered and installed)
2.7 |  | Steel (bevel-edged plain)
2,7,1 |  | 165 mm ID (minimum wall thickness 4 mm) | m | 1 |  | 0
2,7,2 |  | 215 mm ID (minimum wall thickness 4.5 mm) | m | 1 |  | 0
2,7,3 |  | 254 mm ID (minimum wall thickness 4.5 mm) | m | 1 |  | 0
2.8 |  | Steel (slotted, width 3-4 mm)
2,8,1 |  | 165 mm ID (minimum wall thickness 4 mm) | m | 1 |  | 0
2,8,2 |  | 215 mm ID (minimum wall thickness 4.5 mm) | m | 1 |  | 0
2,8,3 |  | 254 mm ID (minimum wall thickness 4.5 mm) | m | 1 |  | 0
2.9 |  | UPVC (flush internal/external thread-jointed, plain)
2,9,1 |  | 165 mm ID (minimum wall thickness 7 mm) | m | 1 |  | 0
2,9,2 |  | 181 mm ID (minimum wall thickness 8.5 mm) | m | 1 |  | 0
2,9,3 |  | 203 mm ID (minimum wall thickness 9.1 mm) | m | 1 |  | 0
2,9,4 |  | 227 mm ID (minimum wall thickness 11 mm) | m | 1 |  | 0
Total Carried Forward | [5 empty] | 0
SCHEDULE B : DRILLING OF BOREHOLES (continue)
Item | Payment | Description | Unit | Qty | Rate | Amount
Nr. | Refer.
|  | Brought Forward |  |  |  | 0
2.1 |  | UPVC (flush internal/external thread-jointed, perforated)
2,10,1 |  | 127 mm ID (minimum wall thickness 6 mm) | m | 1 |  | 0
2,10,2 |  | 150 mm ID (minimum wall thickness 6 mm) | m | 1 |  | 0
2,10,3 |  | 165 mm ID (minimum wall thickness 7 mm) | m | 1 |  | 0
2,10,4 |  | 181 mm ID (minimum wall thickness 8.5 mm) | m | 1 |  | 0
2,10,5 |  | 203 mm ID (minimum wall thickness 9.1 mm) | m | 1 |  | 0
2,10,6 |  | 227 mm ID (minimum wall thickness 11 mm) | m | 1 |  | 0
2.11 |  | CASING SHOES
2,11,1 |  | To fit 165 mm ID steel casing | m | 1 |  | 0
2,11,2 |  | To fit 215 mm ID steel casing | m | 1 |  | 0
2,11,3 |  | To fit 254 mm ID steel casing | m | 1 |  | 0
2.12 |  | REAMING OF BOREHOLES
2,12,1 |  | 152 mm or 165 mm to 203 mm or 219 mm diameter | m | 1 |  | 0
2,12,2 |  | 203 mm or 219 mm to 254 mm diameter | m | 1 |  | 0
2,12,3 |  | 152 mm or 165 mm to 254 mm diameter | m | 1 |  | 0
2.13 |  | RECOVERY OF STEEL CASING | m | 1 |  | 0
2.14 |  | FORMATION STABILISER
(supplied, delivered and installed)
|  | 5-8mm well rounded silica gravel | kg | 1 |  | 0
2.15 |  | CONCRETE COLLAR (complete per borehole)
|  | (2 m x 2 m x 0.5 m) | No | 1 |  | 0
2.16 |  | BENTONITE SANITARY SEAL
(complete per borehole) (maximum of 5m)
2,16,1 |  | Type I (305 mm hole & 254 mm ID casing) | No | 1 |  | 0
2,16,2 |  | Type II (305 mm hole & 215 mm ID casing) | No | 1 |  | 0
2.17 |  | BOREHOLE DISINFECTION (complete per borehole) | No | 1 |  | 0
2.18 |  | BOREHOLE PROTECTION (complete per borehole) | No | 1 |  | 0
(including casing lid)
Total Carried Forward | [5 empty] | 0
SCHEDULE B : DRILLING OF BOREHOLES (continue)
Item | Payment | Description | Unit | Qty | Rate | Amount
Nr. | Refer.
|  | Brought Forward |  |  |  | 0
2.19 |  | STONE PLUG (for unsuccessful boreholes) | No | 1 |  | 0
3m casing installed and concrete block constructed
around casing. Must be marked clearly dry on casing lid)
2.2 |  | BOREHOLE MARKING (complete per borehole) | No | 1 |  | 0
300 mm x 200 mm x 3mm thick rectangular steel plate
(complete with concrete embedment)
2.21 |  | DATA RECORDING AND REPORTING | No | 1 |  | 0
(complete per borehole to include: GPS coordinates,
penetration rates, logs)
2.22 |  | DEVELOPMENT of BOREHOLE (also for blow yield) | Hr | 1 |  | 0
2.23 |  | BOREHOLE REHABILITATION
2,23,1 |  | With rotary air percussion drilling rig | Hr | 1 |  | 0
2,23,2 |  | With cable tool (jumper) drilling rig | Hr | 1 |  | 0
2.24 |  | CASUAL (Day) LABOUR sourced locally | Day | 1 |  | 0
TOTAL SCHEDULE B CARRIED FORWARD TO SUMMARY | [5 empty] | 0

## Testing
SCHEDULE C : TESTING OF BOREHOLES
Item | Payment | Description | Unit | Qty | Rate | Amount
Nr. | Refer.
3 |  | TESTING OF BOREHOLES
3.1 |  | Transport and inter hole moves
3,1,1 |  | Establishment/de-establishment | sum | 1 |  | 0
3,1,2 |  | Set-up of Plant per borehole (after first)
|  | For distances up to 10km | No | 1 |  | 0
3,1,3 |  | For distances exceeding 10km | km | 1 |  | 0
3.2 |  | Installation of Test Pump (depth up to 80m)
3,2,1 |  | For yield up to 10 l/s | No | 1 |  | 0
3,2,2 |  | For yield greater than 10l/s | No | 1 |  | 0
3.3 |  | Installation of Test Pump (per meter over 80m)
3,3,1 |  | For yield up to 10 l/s | No | 1 |  | 0
3,3,2 |  | For yield greater than 10l/s | No | 1 |  | 0
3.4 |  | Laying out of Discharge Hose
3,4,1 |  | Minimum of 50m | No | 1 |  | 0
3,4,2 |  | 50m to 100m (extra-over 50m) | m | 1 |  | 0
Existing equipment removal and re-installation
3.5 |  | Hand pump installation
3,5,1 |  | Removal for first 50m depth | No | 1 |  | 0
3,5,2 |  | Removal from depths extra-over 50m | m | 1 |  | 0
3,5,3 |  | Re-installation to 50m depth | No | 1 |  | 0
3,5,4 |  | Re-installation to depths extra-over 50m | m | 1 |  | 0
3.6 |  | Wind pump installations
3,6,1 |  | Removal for first 50m depth | No | 1 |  | 0
3,6,2 |  | Removal from depths extra-over 50m | m | 1 |  | 0
3,6,3 |  | Re-installation to 50m depth | No | 1 |  | 0
3,6,4 |  | Re-installation to depths extra-over 50m | m | 1 |  | 0
3.7 |  | Motorised installations (electric or diesel -driven
3,7,1 |  | Removal for first 50m depth | No | 1 |  | 0
3,7,2 |  | Removal from depths extra-over 50m | m | 1 |  | 0
Total Carried Forward | [5 empty] | 0
SCHEDULE C : TESTING OF BOREHOLES (continue)
Item | Payment | Description | Unit | Qty | Rate | Amount
Nr. | Refer.
|  | Brought Forward |  |  |  | 0
3,7,3 |  | Re-installation to 50m depth | No | 1 |  | 0
3,7,4 |  | Re-installation to depths extra-over 50m | m | 1 |  | 0
3.8 |  | Borehole superstructure
3,8,1 |  | Dismantling of superstructure | No | 1 |  | 0
3,8,2 |  | Re-assembly of superstructure | No | 1 |  | 0
3.9 |  | Minor repairs to existing equipment
3,9,1 |  | Materials | Sum | 1 |  | 0
3,9,2 |  | Labour | Hr | 1 |  | 0
3,9,3 |  | Mark-up on spares | % | Rate only |  | Rate only
3,9,4 |  | Travelling costs | km | 1 |  | 0
Testing:
3.1 |  | Calibration Test | no | 1
3.11 |  | Stepped discharge test
3,11,1 |  | For yields up to 10 l/s | hr | 1 |  | 0
3,11,2 |  | For yields greater than 10l/s | hr | 1 |  | 0
3.12 |  | Constant discharge test
3,12,1 |  | For yields up to 10 l/s | hr | 1 |  | 0
3,12,2 |  | For yields greater than 10l/s | hr | 1 |  | 0
3.13 |  | Recovery monitoring | hr | 1 |  | 0
3.14 |  | Borehole Disinfections (complete per borehole) | No | 1 |  | 0
3.15 |  | Borehole Protection (complete per borehole) | No | 1 |  | 0
3.16 |  | Borehole marking (complete per borehole) | No | 1 |  | 0
3.17 |  | Site Finishing (complete per borehole) | No | 1 |  | 0
3.18 |  | Water level monitoring per observation hole | hr | 1 |  | 0
TOTAL SCHEDULE C CARRIED FORWARD TO SUMMARY | [5 empty] | 0

## Pumps
SCHEDULE D : PUMPS
Item | Payment | Description | Unit | Qty | Rate | Amount
Nr. | Refer.
4 |  | PUMPS
SANS
4.1 | 1200C | Clearing and Grubbing
4.1.1 | 8.2.1 | Clear and grub area for pump installation | m² | 1 |  | 0
4.2 | 1200D | Earthworks
4.2.1 | 8.3.1 | Remove topsoil to nominal depth 150mm, stockpile
|  | and maintain. | m³ | 1 |  | 0
4.2.2 | 8.3.3 | Restricted excavation in all materials and use for
backfill, or embankment or dispose as ordered within
|  | free-haul distance. Allow 2km free haul in rate. | m³ | 1 |  | 0
4.2.3 | 8.3.3 | Extra-over for hard rock and boulder excavation | m³ | 1 |  | 0
4.2.4 | 8.3.4 | Import G6 material from commercial sources or borrow
|  | pits for hard core filling of Pumphouse | m³ | 1 |  | 0
4.2.5 | 8.3.8.1 | Hand excavation for locating and exposing existing
|  | services: In all areas. | m³ | 1 |  | 0
4.3 | 1200G | Concrete
4.3.1 | 8.2.2 | Smooth vertical formwork on sides of foundations. | m² | 1 |  | 0
4.3.2 |  | High Tensile Steel Bars (6 meter length)
|  | a) Y10 (6 meter length) | no | 1 |  | 0
|  | b) Y12 (6 meter length) | no | 1 |  | 0
4.3.3 |  | Mild Steel Bars (6 meter lenth)
|  | a) R8 (6 meter length) | no | 1 |  | 0
4.3.4 |  | Reinforcing Mesh (2400mm x 6000mm)
|  | a) Ref: 193 (2400mm x 6000mm x 5,6mm) | no | 1 |  | 0
4.3.5 | 8.4.3 | Concrete
|  | a) Class 25/19 concrete | m³ | 1 |  | 0
|  | b) Class 30/19 concrete | m³ | 1 |  | 0
4.3.6 | 8.4.4 | Unformed Surface finish
|  | a) Wood floated finish | m² | 1 |  | 0
|  | b) Steel Floated finish | m² | 1 |  | 0
Total Carried Forward | [5 empty] | 0
SCHEDULE D : PUMPS (continue)
Item | Payment | Description | Unit | Qty | Rate | Amount
Nr. | Refer.
|  | Brought Forward |  |  |  | 0
4.4 | 8.4 | Brickwork
220mm brick wall complete, in stretcher bond, one side
face brick, other side plastered, including damp proof
|  | course, & brick force every fourth layer (14MPa bricks) | m² | 1 |  | 0
4.5 |  | Doors & Security Gates
Supply and install complete:
4.5.1 |  | Combi Steel Frame and Door, 1,2mm thickness,
double rebated mild steel door frames suitable for
half brick walls, complete with standard butt hinges,
factory applied primer, with 2 coats of enamel paint,
complete mortice lockset, striker plate and set of keys.
|  | a) Single Door and Frame 813 x 2 032mm | no | 1 |  | 0
|  | b) Double Doors and Frame 1 511 x 2 032mm | no | 1 |  | 0
4.5.2 |  | Combi Steel Frame and Door, 1,2mm thickness,
double rebated mild steel door frames suitable for
one brick walls, complete with standard butt hinges,
factory applied primer, with 2 coats of enamel paint,
complete mortice lockset, striker plate and set of keys.
|  | a) Single Door and Frame 813 x 2 032mm | no | 1 |  | 0
|  | b) Double Doors and Frame 1 511 x 2 032mm | no | 1 |  | 0
4.5.3 |  | Security Gate 25 x 25 x 2mm galvanised mild steel
frame with 12mm galvanised mild steel square bars
infill placed at 109mm centres, hung with galvanised
mild steel hinges including locks, handles,
ironmongery complete and fixed to brickwork:
|  | a) Single Security gate 900 x 2050mm | no | 1 |  | 0
|  | b) Double Security gate 1800 x 2050mm | no | 1 |  | 0
4.6 |  | Roof
Supply and construct complete:
4.6.1 |  | Galvanised Lip Channel
|  | a) 75mm x 50mm x 20mm x 2mm x 6m | no | 1 |  | 0
|  | b) 150mm x 50mm x 20mm x 2mm x 6m | no | 1 |  | 0
|  | c) 175mm x 50mm x 20mm x 2mm x 6m | no | 1 |  | 0
Total Carried Forward | [5 empty] | 0
SCHEDULE D : PUMPS (continue)
Item | Payment | Description | Unit | Qty | Rate | Amount
Nr. | Refer.
|  | Brought Forward |  |  |  | 0
4.6.2 |  | Galvanised profiled metal sheeting, screws and all
accessories, supply and install complete, fixed to
steel roof members.
|  | a) Galvanised IBR profile 0,4mm Z100 | m² | 1 |  | 0
|  | b) Galvanised IBR profile 0,47mm Z150 | m² | 1 |  | 0
|  | c) Galvanised IBR profile 0,58mm Z200 | m² | 1 |  | 0
4.7 |  | Lockable Steel Manhole Cover
Supply and install complete lockable fabricated steel
manhole cover for submerable pump as per Drawing
|  | No. 1701321-TY-05 | no | 1 |  | 0
4.8 |  | Submersible Borehole Pump and Motor set
Supply, Install, Testing and Commission a complete
submersible pump and motor set, up to 100m depth,
inclusive of riser pipe (priced elsewhere), electrical
submersible cable (priced elsewhere), recovery rope,
flow inducer (cooling) sleeve, accessories and all
fittings to connect to the electricity supply piont and
delivery pipe as per Drawing No. 1701321-TY-06
4.8.1 |  | Single phase, Single stage Pump & Motor
|  | a) 0,25 kW | sum | 1 |  | 0
|  | b) 0,37 kW | sum | 1 |  | 0
|  | c) 0,55 kW | sum | 1 |  | 0
|  | d) 0,75 kW | sum | 1 |  | 0
|  | e) 1,1 kW | sum | 1 |  | 0
|  | f) 1,5 kW | sum | 1 |  | 0
|  | g) 2,2 kW | sum | 1 |  | 0
4.8.2 |  | Single phase, Multi stage Pump & Motor
|  | a) 0,25 kW | sum | 1 |  | 0
|  | b) 0,37 kW | sum | 1 |  | 0
|  | c) 0,55 kW | sum | 1 |  | 0
|  | d) 0,75 kW | sum | 1 |  | 0
|  | e) 1,1 kW | sum | 1 |  | 0
Total Carried Forward | [5 empty] | 0
SCHEDULE D : PUMPS (continue)
Item | Payment | Description | Unit | Qty | Rate | Amount
Nr. | Refer.
|  | Brought Forward |  |  |  | 0
|  | f) 1,5 kW | sum | 1 |  | 0
|  | g) 2,2 kW | sum | 1 |  | 0
4.8.3 |  | Three phase, Single stage Pump & Motor
|  | a) 0,25 kW | sum | 1 |  | 0
|  | b) 0,37 kW | sum | 1 |  | 0
|  | c) 0,55 kW | sum | 1 |  | 0
|  | d) 0,75 kW | sum | 1 |  | 0
|  | e) 1,1 kW | sum | 1 |  | 0
|  | f) 1,5 kW | sum | 1 |  | 0
|  | g) 2,2 kW | sum | 1 |  | 0
4.8.4 |  | Three phase, Multi stage Pump & Motor
|  | a) 1,5 kW | sum | 1 |  | 0
|  | b) 2,2 kW | sum | 1 |  | 0
|  | c) 3 kW | sum | 1 |  | 0
|  | d) 3,7 kW | sum | 1 |  | 0
|  | e) 4 kW | sum | 1 |  | 0
|  | f) 5,5 kW | sum | 1 |  | 0
|  | g) 7,5 kW | sum | 1 |  | 0
TOTAL SCHEDULE D CARRIED FORWARD TO SUMMARY | [5 empty] | 0

## Electrical
SCHEDULE E : ELECTRICAL
Item | Payment | Description | Unit | Qty | Rate | Amount
Nr. | Refer.
5.1 |  | ELECTRICAL - GENERAL
5.1.1 |  | Test the complete elctrical works and issue a
Certificate of Complliance (CoC) by an applicable
|  | certified and registered electrical person. | sum | 1 |  | 0
5.1.2 |  | Electrical Connection Fee (Provisional Sum) | Sum | 1 | 50000 | 50000
5.1.3 |  | Handling Cost and profit in respect of Item 5.1.2 | % | 50000 |  | 0
5.1.4 |  | Earth Spike (Include Conductor Termination Clamp) | sum | 1 |  | 0
5.2 |  | ELECTRICAL - TRENCHING & EARTHWORKS
Trenching (450mm width by 1500mm depth for
LV Cables)
5.2.1 |  | Hand pickable soil (soft soil) | m³ | 1 |  | 0
5.2.2 |  | Machine excavation (soft rock) | m³ | 1 |  | 0
5.2.3 |  | Hard rock (Hydraulic Breakers, Blasting) | m³ | 1 |  | 0
5.2.4 |  | Back-filling and compaction to 90% Mod AASHTO | m³ | 1 |  | 0
5.2.5 |  | Sifting of local soil for bedding of the cables | m³ | 1 |  | 0
5.2.6 |  | Import soil for bedding of cables | m³ | 1 |  | 0
5.3 |  | Electrical Motor Control and Starters
Supply, deliver,install and test a complete DB
Board in a lockable IP55 powder coated mild steel
enclosure (or similar approved by Engineer) for a
submersible pump and motor set with all applicable
switch gear and starters with protections for Dry run,
Pump stall, Overload, Under voltage, Over voltage,
Phase failure, Phase rotation and short circuit.
Inclusive of all wiring, terminations and glands.
5.3.1 |  | Single Phase Direct on Line
|  | a) 0,25 kW | sum | 1 |  | 0
|  | b) 0,37 kW | sum | 1 |  | 0
|  | c) 0,55 kW | sum | 1 |  | 0
|  | d) 0,75 kW | sum | 1 |  | 0
|  | e) 1,1 kW | sum | 1 |  | 0
|  | f) 1,5 kW | sum | 1 |  | 0
Total Carried Forward | [5 empty] | 50000
SCHEDULE E : ELECTRICAL (continue)
Item | Payment | Description | Unit | Qty | Rate | Amount
Nr. | Refer.
|  | Brought Forward |  |  |  | 50000
|  | g) 2,2 kW | sum | 1 |  | 0
5.3.2 |  | Three Pphase Direct on Line
|  | a) 0,25 kW | sum | 1 |  | 0
|  | b) 0,37 kW | sum | 1 |  | 0
|  | c) 0,55 kW | sum | 1 |  | 0
|  | d) 0,75 kW | sum | 1 |  | 0
|  | e) 1,1 kW | sum | 1 |  | 0
|  | f) 1,5 kW | sum | 1 |  | 0
|  | g) 2,2 kW | sum | 1 |  | 0
5.3.3 |  | Star Delta Starter (Complete with relays & timers)
|  | a) 3 kW | sum | 1 |  | 0
|  | b) 3,7 kW | sum | 1 |  | 0
|  | c) 4 kW | sum | 1 |  | 0
|  | d) 5,5 kW | sum | 1 |  | 0
|  | e) 7,5 kW | sum | 1 |  | 0
5.3.4 |  | Soft Starter
|  | a) 1,5 kW | sum | 1 |  | 0
|  | b) 2,2 kW | sum | 1 |  | 0
|  | c) 3 kW | sum | 1 |  | 0
|  | d) 3,7 kW | sum | 1 |  | 0
|  | e) 4 kW | sum | 1 |  | 0
|  | f) 5,5 kW | sum | 1 |  | 0
|  | g) 7,5 kW | sum | 1 |  | 0
5.3.5 |  | Variable Speed Drives (VSDs)
|  | a) 1,5 kW | sum | 1 |  | 0
|  | b) 2,2 kW | sum | 1 |  | 0
Total Carried Forward | [5 empty] | 50000
SCHEDULE E : ELECTRICAL (continue)
Item | Payment | Description | Unit | Qty | Rate | Amount
Nr. | Refer.
|  | Brought Forward |  |  |  | 50000
|  | c) 3 kW | sum | 1 |  | 0
|  | d) 3,7 kW | sum | 1 |  | 0
|  | e) 4 kW | sum | 1 |  | 0
|  | f) 5,5 kW | sum | 1 |  | 0
|  | g) 7,5 kW | sum | 1 |  | 0
5.3.6 |  | Solar-Powered Variable Speed Drives (VSDs)
|  | a) 1,5 kW | sum | 1 |  | 0
|  | b) 2,2 kW | sum | 1 |  | 0
|  | c) 3 kW | sum | 1 |  | 0
|  | d) 3,7 kW | sum | 1 |  | 0
|  | e) 4 kW | sum | 1 |  | 0
|  | f) 5,5 kW | sum | 1 |  | 0
|  | g) 7,5 kW | sum | 1 |  | 0
5.4 |  | Electrical Cables
Two Core Cable
Supply, deliver,install and test two core
SABS approved copper cables. Inclusive of all
terminations and glands.
5.4.1 |  | Two Core Armoured copper cable (SANS 1507)
|  | a) 1.5 mm2 | m | 1 |  | 0
|  | b) 2.5 mm2 | m | 1 |  | 0
|  | c) 4 mm2 | m | 1 |  | 0
|  | d) 6 mm2 | m | 1 |  | 0
|  | e) 10 mm2 | m | 1 |  | 0
|  | f) 16 mm2 | m | 1 |  | 0
|  | g) 25 mm2 | m | 1 |  | 0
Total Carried Forward | [5 empty] | 50000
SCHEDULE E : ELECTRICAL (continue)
Item | Payment | Description | Unit | Qty | Rate | Amount
Nr. | Refer.
|  | Brought Forward |  |  |  | 50000
|  | h) 35 mm2 | m | 1 |  | 0
|  | I) 50 mm2 | m | 1 |  | 0
5.4.2 |  | Two Core Armoured copper cable with Earth
continuity Conducter in the armour. (SANS 1507)
|  | a) 1.5 mm2 | m | 1 |  | 0
|  | b) 2.5 mm2 | m | 1 |  | 0
|  | c) 4 mm2 | m | 1 |  | 0
|  | d) 6 mm2 | m | 1 |  | 0
|  | e) 10 mm2 | m | 1 |  | 0
|  | f) 16 mm2 | m | 1 |  | 0
|  | g) 25 mm2 | m | 1 |  | 0
|  | h) 35 mm2 | m | 1 |  | 0
|  | I) 50 mm2 | m | 1 |  | 0
Supply, deliver,install and test three core
SABS approved copper cables. Inclusive of all
terminations and glands.
5.4.3 |  | Three Core Submersible pump cable (SANS 1574)
|  | a) 1.5 mm2 | m | 1 |  | 0
|  | b) 2.5 mm2 | m | 1 |  | 0
|  | c) 4 mm2 | m | 1 |  | 0
|  | d) 6 mm2 | m | 1 |  | 0
|  | e) 10 mm2 | m | 1 |  | 0
|  | f) 16 mm2 | m | 1 |  | 0
|  | g) 25 mm2 | m | 1 |  | 0
|  | h) 35 mm2 | m | 1 |  | 0
Total Carried Forward | [5 empty] | 50000
SCHEDULE E : ELECTRICAL (continue)
Item | Payment | Description | Unit | Qty | Rate | Amount
Nr. | Refer.
|  | Brought Forward |  |  |  | 50000
|  | I) 50 mm2 | m | 1 |  | 0
5.4.4 |  | Three Core Armoured copper cable (SANS 1507)
|  | a) 1.5 mm2 | m | 1 |  | 0
|  | b) 2.5 mm2 | m | 1 |  | 0
|  | c) 4 mm2 | m | 1 |  | 0
|  | d) 6 mm2 | m | 1 |  | 0
|  | e) 10 mm2 | m | 1 |  | 0
|  | f) 16 mm2 | m | 1 |  | 0
|  | g) 25 mm2 | m | 1 |  | 0
|  | h) 35 mm2 | m | 1 |  | 0
|  | I) 50 mm2 | m | 1 |  | 0
5.4.5 |  | Three Core Armoured copper cable with Earth
continuity Conducter in the armour. (SANS 1507)
|  | a) 1.5 mm2 | m | 1 |  | 0
|  | b) 2.5 mm2 | m | 1 |  | 0
|  | c) 4 mm2 | m | 1 |  | 0
|  | d) 6 mm2 | m | 1 |  | 0
|  | e) 10 mm2 | m | 1 |  | 0
|  | f) 16 mm2 | m | 1 |  | 0
|  | g) 25 mm2 | m | 1 |  | 0
|  | h) 35 mm2 | m | 1 |  | 0
|  | I) 50 mm2 | m | 1 |  | 0
Total Carried Forward | [5 empty] | 50000
SCHEDULE E : ELECTRICAL (continue)
Item | Payment | Description | Unit | Qty | Rate | Amount
Nr. | Refer.
|  | Brought Forward |  |  |  | 50000
Four Core Cable
Supply, deliver,install and test four core
SABS approved copper cables. Inclusive of all
terminations and glands.
5.4.6 |  | Four Core Submersible pump cable (SANS 1574)
|  | a) 1.5 mm2 | m | 1 |  | 0
|  | b) 2.5 mm2 | m | 1 |  | 0
|  | c) 4 mm2 | m | 1 |  | 0
|  | d) 6 mm2 | m | 1 |  | 0
|  | e) 10 mm2 | m | 1 |  | 0
|  | f) 16 mm2 | m | 1 |  | 0
|  | g) 25 mm2 | m | 1 |  | 0
|  | h) 35 mm2 | m | 1 |  | 0
|  | I) 50 mm2 | m | 1 |  | 0
5.4.7 |  | Four Core Armoured copper cable (SANS 1507)
|  | a) 1.5 mm2 | m | 1 |  | 0
|  | b) 2.5 mm2 | m | 1 |  | 0
|  | c) 4 mm2 | m | 1 |  | 0
|  | d) 6 mm2 | m | 1 |  | 0
|  | e) 10 mm2 | m | 1 |  | 0
|  | f) 16 mm2 | m | 1 |  | 0
|  | g) 25 mm2 | m | 1 |  | 0
|  | h) 35 mm2 | m | 1 |  | 0
|  | I) 50 mm2 | m | 1 |  | 0
Total Carried Forward | [5 empty] | 50000
SCHEDULE E : ELECTRICAL (continue)
Item | Payment | Description | Unit | Qty | Rate | Amount
Nr. | Refer.
|  | Brought Forward |  |  |  | 50000
5.4.8 |  | Four Core Armoured copper cable with Earth
continuity Conducter in the armour. (SANS 1507)
|  | a) 1.5 mm2 | m | 1 |  | 0
|  | b) 2.5 mm2 | m | 1 |  | 0
|  | c) 4 mm2 | m | 1 |  | 0
|  | d) 6 mm2 | m | 1 |  | 0
|  | e) 10 mm2 | m | 1 |  | 0
|  | f) 16 mm2 | m | 1 |  | 0
|  | g) 25 mm2 | m | 1 |  | 0
|  | h) 35 mm2 | m | 1 |  | 0
|  | I) 50 mm2 | m | 1 |  | 0
Supply, deliver,install and test SABS approved
copper cables. Inclusive of all terminations and
glands.
5.4.9 |  | Bare copper Earth wire (SANS 1411)
|  | a) 1.5 mm2 | m | 1 |  | 0
|  | b) 2.5 mm2 | m | 1 |  | 0
|  | c) 4 mm2 | m | 1 |  | 0
|  | d) 6 mm2 | m | 1 |  | 0
|  | e) 10 mm2 | m | 1 |  | 0
|  | f) 16 mm2 | m | 1 |  | 0
|  | g) 25 mm2 | m | 1 |  | 0
|  | h) 35 mm2 | m | 1 |  | 0
|  | I) 50 mm2 | m | 1 |  | 0
Total Carried Forward | [5 empty] | 50000
SCHEDULE E : ELECTRICAL (continue)
Item | Payment | Description | Unit | Qty | Rate | Amount
Nr. | Refer.
|  | Brought Forward |  |  |  | 50000
5.4.10 |  | Flexible single core cable for photovoltaic or solar
systems, Halogen free, double insulated, Ozone &
UV resistant (AC 1000V & DC 1500V) (Black/Red)
|  | a) 1.5 mm2 | m | 1 |  | 0
|  | b) 2.5 mm2 | m | 1 |  | 0
|  | c) 4 mm2 | m | 1 |  | 0
|  | d) 6 mm2 | m | 1 |  | 0
|  | e) 10 mm2 | m | 1 |  | 0
|  | f) 16 mm2 | m | 1 |  | 0
|  | g) 25 mm2 | m | 1 |  | 0
|  | h) 35 mm2 | m | 1 |  | 0
|  | I) 50 mm2 | m | 1 |  | 0
5.5 |  | Solar Panels (PV)
Supply, deliver, install, and test monocrystalline solar
panels complete with all cables, connectors, Junction
boxes, surge protectors and Circuit breakers.
(Ground, Roof, Elevated or floating installation)
|  | a) 300 to 395 W | no | 1 |  | 0
|  | b) 400 to 450 W | no | 1 |  | 0
|  | c) 455 to 495 W | no | 1 |  | 0
|  | d) 500 to 550 W | no | 1 |  | 0
|  | e) 555 - 595 W | no | 1 |  | 0
|  | f) 600 to 650 W | no | 1 |  | 0
5.6 |  | Solar (PV) Mounting Systems
Supply, deliver, install a complete Solar (PV) mounting
system including all rails, brackets, fasteners, and
steel support structure. (Galvanised or Aluminium)
5.6.1 |  | Roof Top mounting system for PV Solar panels.
|  | a) One (1) PV solar panel. | Sum | 1 |  | 0
Total Carried Forward | [5 empty] | 50000
SCHEDULE E : ELECTRICAL (continue)
Item | Payment | Description | Unit | Qty | Rate | Amount
Nr. | Refer.
|  | Brought Forward |  |  |  | 50000
|  | b) Set of two (2) PV solar panels. | Sum | 1 |  | 0
|  | c) Set of three (3) PV solar panels. | Sum | 1 |  | 0
|  | d) Set of four (4) PV solar panels. | Sum | 1 |  | 0
5.6.2 |  | Ground mounting structure for PV Solar panels.
|  | a) One (1) PV solar panel. | Sum | 1 |  | 0
|  | b) Set of two (2) PV solar panels. | Sum | 1 |  | 0
|  | c) Set of three (3) PV solar panels. | Sum | 1 |  | 0
|  | d) Set of four (4) PV solar panels. | Sum | 1 |  | 0
5.6.3 |  | Mounting structure on top of water tank and
tank stand for PV Solar panels.
|  | a) One (1) PV solar panel. | Sum | 1 |  | 0
|  | b) Set of two (2) PV solar panels. | Sum | 1 |  | 0
|  | c) Set of three (3) PV solar panels. | Sum | 1 |  | 0
|  | d) Set of four (4) PV solar panels. | Sum | 1 |  | 0
5.6.4 |  | Single Pole mounting structure for PV panels.
|  | a) One (1) PV solar panel. | Sum | 1 |  | 0
|  | b) Set of two (2) PV solar panels. | Sum | 1 |  | 0
|  | c) Set of three (3) PV solar panels. | Sum | 1 |  | 0
|  | d) Set of four (4) PV solar panels. | Sum | 1 |  | 0
5.6.5 |  | Floating HDPE platform for PV panels. (Tilted)
|  | a) Float for one (1) PV solar panel. | Sum | 1 |  | 0
|  | b) Float for set of two (2) PV solar panels. | Sum | 1 |  | 0
|  | c) Float for set of three (3) PV solar panels. | Sum | 1 |  | 0
|  | d) Float for set of four (4) PV solar panels. | Sum | 1 |  | 0
Total Carried Forward | [5 empty] | 50000
SCHEDULE E : ELECTRICAL (continue)
Item | Payment | Description | Unit | Qty | Rate | Amount
Nr. | Refer.
|  | Brought Forward |  |  |  | 50000
5.7 |  | FUEL GENERATORS
Supply, deliver, install, test, and commission diesel
generators with electrict start, automatic voltage
regulator, and automatic transfer switch.
|  | a) 5kVA | Sum | 1 |  | 0
|  | b) 8kVA | Sum | 1 |  | 0
|  | c) 15kVA | Sum | 1 |  | 0
|  | d) 25kVA | Sum | 1 |  | 0
5.8 |  | SOLAR DB BOARD
Supply, deliver, install, and test complete solar
DB Board
a) Complete combiner box, MCE CB1-1
|  | 32 A, 1000 VDC, Input Strings 1, Output Strings 1 | Sum | 1 |  | 0
b) Complete combiner box, MCE CB2-1
|  | 32 A, 1000 VDC, Input Strings 2, Output Strings 1 | Sum | 1 |  | 0
c) Complete combiner box, MCE CB2-2
|  | 32 A, 1000 VDC, Input Strings 2, Output Strings 2 | Sum | 1 |  | 0
d) Complete combiner box, MCE CB4-1
|  | 32 A, 1000 VDC, Input Strings 4, Output Strings 1 | Sum | 1 |  | 0
e) Complete combiner box, MCE CB4-2
|  | 32 A, 1000 VDC, Input Strings 4, Output Strings 2 | Sum | 1 |  | 0
TOTAL SCHEDULE E CARRIED FORWARD TO SUMMARY | [5 empty] | 50000

## Pipes
SCHEDULE F : PIPES AND FITTINGS
Item | Payment | Description | Unit | Qty | Rate | Amount
Nr. | Refer.
6 | SANS | PIPES AND FITTINGS
| 1200C | Clearing and Grubbing
6.1 | 8.2.1 | Clear and grub 1m wide | m | 1 |  | 0
| 1200DB | PIPE TRENCHES
6.2 | 8.3.2a) | Excavate, backfill and compact to 90% MOD
AASHTO in all materials for pipe trenches with
a nominal diameter up to 100mm.
Note: No extra payment shall be rendered
for intermediate material.
|  | a) Up to 1m deep (Depth 300mm above pipe) | m³ | 1 |  | 0
6.3 | 8.3.2b) | Extra-over item for 6.2
|  | a) Hard rock excavation (Prov.) | m³ | 1 |  | 0
MEDIUM PRESSURE PIPELINES (Primary
water supply BH to water tanks / troughs)
6.4 |  | HDPe PIPES AND FITTINGS
| 8.2.1 | Supply, lay, bed and test the following HDPe
type IV pipes (conforming to SABS 533-Part 2 :
1982 amended 1994), in the following
diameters and class.
6.4.1 |  | CLASS 6
|  | a) 20mm dia Class 6 | m | 1 |  | 0
|  | b) 25mm dia Class 6 | m | 1 |  | 0
|  | c) 32mm dia Class 6 | m | 1 |  | 0
|  | d) 40mm dia Class 6 | m | 1 |  | 0
|  | e) 50mm dia Class 6 | m | 1 |  | 0
|  | f) 63mm dia Class 6 | m | 1 |  | 0
|  | g) 75mm dia Class 6 | m | 1 |  | 0
|  | h) 90mm dia Class 6 | m | 1 |  | 0
6.4.2 |  | CLASS 10
|  | a) 20mm dia Class 10 | m | 1 |  | 0
|  | b) 25mm dia Class 10 | m | 1 |  | 0
|  | c) 32mm dia Class 10 | m | 1 |  | 0
|  | d) 40mm dia Class 10 | m | 1 |  | 0
Total Carried Forward | [5 empty] | 0
SCHEDULE F : PIPES AND FITTINGS
Item | Payment | Description | Unit | Qty | Rate | Amount
Nr. | Refer.
|  | Brought Forward |  |  |  | 0
|  | e) 50mm dia Class 10 | m | 1 |  | 0
|  | f) 63mm dia Class 10 | m | 1 |  | 0
|  | g) 75mm dia Class 10 | m | 1 |  | 0
|  | h) 90mm dia Class 10 | m | 1 |  | 0
6.4.3 |  | CLASS 12
|  | a) 20mm dia Class 12 | m | 1 |  | 0
|  | b) 25mm dia Class 12 | m | 1 |  | 0
|  | c) 32mm dia Class 12 | m | 1 |  | 0
|  | d) 40mm dia Class 12 | m | 1 |  | 0
|  | e) 50mm dia Class 12 | m | 1 |  | 0
|  | f) 63mm dia Class 12 | m | 1 |  | 0
|  | g) 75mm dia Class 12 | m | 1 |  | 0
|  | h) 90mm dia Class 12 | m | 1 |  | 0
6.4.4 |  | CLASS 16
|  | a) 20mm dia Class 16 | m | 1 |  | 0
|  | b) 25mm dia Class 16 | m | 1 |  | 0
|  | c) 32mm dia Class 16 | m | 1 |  | 0
|  | d) 40mm dia Class 16 | m | 1 |  | 0
|  | e) 50mm dia Class 16 | m | 1 |  | 0
|  | f) 63mm dia Class 16 | m | 1 |  | 0
|  | g) 75mm dia Class 16 | m | 1 |  | 0
|  | h) 90mm dia Class 16 | m | 1 |  | 0
6.5 | 8.2.2 | Extra-over item 6.4 for supply, laying and
bedding of compression fittings for use with
HDPe Type IV pipes.
6.5.1 |  | Coupling (Compression)
|  | a) 20mm | no | 1 |  | 0
Total Carried Forward | [5 empty] | 0
SCHEDULE F : PIPES AND FITTINGS
Item | Payment | Description | Unit | Qty | Rate | Amount
Nr. | Refer.
|  | Brought Forward |  |  |  | 0
|  | b) 25mm | no | 1 |  | 0
|  | c) 32mm | no | 1 |  | 0
|  | d) 40mm | no | 1 |  | 0
|  | e) 50mm | no | 1 |  | 0
|  | f) 63mm | no | 1 |  | 0
|  | g) 75mm | no | 1 |  | 0
|  | h) 90mm | no | 1 |  | 0
6.5.2 |  | Equal Tee (Compression)
|  | a) 20mm | no | 1 |  | 0
|  | b) 25mm | no | 1 |  | 0
|  | c) 32mm | no | 1 |  | 0
|  | d) 40mm | no | 1 |  | 0
|  | e) 50mm | no | 1 |  | 0
|  | f) 63mm | no | 1 |  | 0
|  | g) 75mm | no | 1 |  | 0
|  | h) 90mm | no | 1 |  | 0
6.5.3 |  | Elbow (Compression)
|  | a) 20mm | no | 1 |  | 0
|  | b) 25mm | no | 1 |  | 0
|  | c) 32mm | no | 1 |  | 0
|  | d) 40mm | no | 1 |  | 0
|  | e) 50mm | no | 1 |  | 0
|  | f) 63mm | no | 1 |  | 0
|  | g) 75mm | no | 1 |  | 0
|  | h) 90mm | no | 1 |  | 0
Total Carried Forward | [5 empty] | 0
SCHEDULE F : PIPES AND FITTINGS
Item | Payment | Description | Unit | Qty | Rate | Amount
Nr. | Refer.
|  | Brought Forward |  |  |  | 0
6.5.4 |  | Male Adaptor
|  | a) 20mm x 15mm | no | 1 |  | 0
|  | b) 20mm x 20mm | no | 1 |  | 0
|  | c) 20mm x 25mm | no | 1 |  | 0
|  | d) 25mm x 15mm | no | 1 |  | 0
|  | e) 25mm x 20mm | no | 1 |  | 0
|  | f) 25mm x 25mm | no | 1 |  | 0
|  | g) 32mm x 15mm | no | 1 |  | 0
|  | h) 32mm x 20mm | no | 1 |  | 0
|  | i) 32mm x 25mm | no | 1 |  | 0
|  | j) 32mm x 32mm | no | 1 |  | 0
|  | k) 40mm x 25mm | no | 1 |  | 0
|  | l) 40mm x 32mm | no | 1 |  | 0
|  | m) 40mm x 40mm | no | 1 |  | 0
|  | n) 40mm x 50mm | no | 1 |  | 0
|  | o) 50mm x 25mm | no | 1 |  | 0
|  | p) 50mm x 32mm | no | 1 |  | 0
|  | q) 50mm x 40mm | no | 1 |  | 0
|  | r) 50mm x 50mm | no | 1 |  | 0
|  | s) 63mm x 40mm | no | 1 |  | 0
|  | t) 63mm x 50mm | no | 1 |  | 0
|  | u) 63mm x 65mm | no | 1 |  | 0
|  | v) 75mm x 50mm | no | 1 |  | 0
|  | w) 75mm x 65mm | no | 1 |  | 0
|  | x) 75mm x 80mm | no | 1 |  | 0
Total Carried Forward | [5 empty] | 0
SCHEDULE F : PIPES AND FITTINGS
Item | Payment | Description | Unit | Qty | Rate | Amount
Nr. | Refer.
|  | Brought Forward |  |  |  | 0
|  | y) 90mm x 50mm | no | 1 |  | 0
|  | z) 90mm x 65mm | no | 1 |  | 0
|  | aa) 90mm x 80mm | no | 1 |  | 0
6.5.5 |  | Female Adaptor
|  | a) 20mm x 15mm | no | 1 |  | 0
|  | b) 20mm x 20mm | no | 1 |  | 0
|  | c) 20mm x 25mm | no | 1 |  | 0
|  | d) 25mm x 15mm | no | 1 |  | 0
|  | e) 25mm x 20mm | no | 1 |  | 0
|  | f) 25mm x 25mm | no | 1 |  | 0
|  | g) 32mm x 15mm | no | 1 |  | 0
|  | h) 32mm x 20mm | no | 1 |  | 0
|  | i) 32mm x 25mm | no | 1 |  | 0
|  | j) 32mm x 32mm | no | 1 |  | 0
|  | k) 40mm x 25mm | no | 1 |  | 0
|  | l) 40mm x 32mm | no | 1 |  | 0
|  | m) 40mm x 40mm | no | 1 |  | 0
|  | n) 50mm x 32mm | no | 1 |  | 0
|  | o) 50mm x 40mm | no | 1 |  | 0
|  | p) 50mm x 50mm | no | 1 |  | 0
|  | q) 63mm x 50mm | no | 1 |  | 0
|  | r) 63mm x 65mm | no | 1 |  | 0
|  | s) 75mm x 50mm | no | 1 |  | 0
|  | t) 75mm x 65mm | no | 1 |  | 0
|  | u) 75mm x 80mm | no | 1 |  | 0
Total Carried Forward | [5 empty] | 0
SCHEDULE F : PIPES AND FITTINGS
Item | Payment | Description | Unit | Qty | Rate | Amount
Nr. | Refer.
|  | Brought Forward |  |  |  | 0
|  | v) 90mm x 65mm | no | 1 |  | 0
|  | w) 90mm x 80mm | no | 1 |  | 0
6.5.6 |  | Single Union Ball Valve (Compression)
|  | a) 20mm | no | 1 |  | 0
|  | b) 25mm | no | 1 |  | 0
|  | c) 32mm | no | 1 |  | 0
|  | d) 40mm | no | 1 |  | 0
|  | e) 50mm | no | 1 |  | 0
|  | f) 63mm | no | 1 |  | 0
6.5.7 |  | Other Compression Fittings
Extra-over item 6.4 for supply, laying and
bedding of compression fittings for use with
HDPe Type IV pipes, not priced in the above
Items. Mark up on other compression fitting as
|  | specified by the Engineer (3 Quotations from | PC
|  | reputable suppliers) | Sum | 1 | 1000 | 1000
|  | Mark up on other compression fitting | % | 1000 |  | 0
6.6 |  | Flexible borehole pipe
Supply, deliver and install flexible borehole
pipe, complete with all applicable fittings to
connect to the pump and motor set and base
plate up to 100 meter deep installation.
|  | a) 50 mm inside diameter | Sum | 1 |  | 0
|  | b) 64 mm inside diameter | Sum | 1 |  | 0
|  | c) 76 mm inside diameter | Sum | 1 |  | 0
6.7 |  | STEEL PIPES AND FITTINGS (Primary water supply)
Supply, deliver,install and test the following
steel pipes, fittings and specials complete.
(Conforming to SABS 719, SABS 62-1989 and
BS534.) (All steel pipes and fittings to galvanized
according to SABS 1461 and SABS ISO 14713.)
6.7.1 |  | Barrel Nipple Galvanised
|  | a) 25 mm | no | 1 |  | 0
Total Carried Forward | [5 empty] | 1000
SCHEDULE F : PIPES AND FITTINGS
Item | Payment | Description | Unit | Qty | Rate | Amount
Nr. | Refer.
|  | Brought Forward |  |  |  | 1000
|  | b) 32 mm | no | 1 |  | 0
|  | c) 40 mm | no | 1 |  | 0
|  | d) 50 mm | no | 1 |  | 0
|  | e) 65 mm | no | 1 |  | 0
|  | f) 80 mm | no | 1 |  | 0
|  | g) 100 mm | no | 1 |  | 0
6.7.2 |  | Nipple Galvanised Hexagonal
|  | a) 25 mm | no | 1 |  | 0
|  | b) 32 mm | no | 1 |  | 0
|  | c) 40 mm | no | 1 |  | 0
|  | d) 50 mm | no | 1 |  | 0
|  | e) 65 mm | no | 1 |  | 0
|  | f) 80 mm | no | 1 |  | 0
|  | g) 100 mm | no | 1 |  | 0
6.7.3 |  | Elbow Galvanised Female/Female 90˚
|  | a) 25 mm | no | 1 |  | 0
|  | b) 32 mm | no | 1 |  | 0
|  | c) 40 mm | no | 1 |  | 0
|  | d) 50 mm | no | 1 |  | 0
|  | e) 65 mm | no | 1 |  | 0
|  | f) 80 mm | no | 1 |  | 0
|  | g) 100 mm | no | 1 |  | 0
6.7.4 |  | Elbow Galvanised Male/Female 90˚
|  | a) 25 mm | no | 1 |  | 0
|  | b) 32 mm | no | 1 |  | 0
|  | c) 40 mm | no | 1 |  | 0
Total Carried Forward | [5 empty] | 1000
SCHEDULE F : PIPES AND FITTINGS
Item | Payment | Description | Unit | Qty | Rate | Amount
Nr. | Refer.
|  | Brought Forward |  |  |  | 1000
|  | d) 50 mm | no | 1 |  | 0
|  | e) 65 mm | no | 1 |  | 0
|  | f) 80 mm | no | 1 |  | 0
|  | g) 100 mm | no | 1 |  | 0
6.7.5 |  | Coupling galvanised swage
|  | a) 25 mm | no | 1 |  | 0
|  | b) 32 mm | no | 1 |  | 0
|  | c) 40 mm | no | 1 |  | 0
|  | d) 50 mm | no | 1 |  | 0
|  | e) 65 mm | no | 1 |  | 0
|  | f) 80 mm | no | 1 |  | 0
|  | g) 100 mm | no | 1 |  | 0
6.7.6 |  | Union galvanised conical
|  | a) 25 mm | no | 1 |  | 0
|  | b) 32 mm | no | 1 |  | 0
|  | c) 40 mm | no | 1 |  | 0
|  | d) 50 mm | no | 1 |  | 0
|  | e) 65 mm | no | 1 |  | 0
|  | f) 80 mm | no | 1 |  | 0
|  | g) 100 mm | no | 1 |  | 0
Nippel Galvanised Long screw
|  | a) 25 mm | no | 1 |  | 0
|  | b) 32 mm | no | 1 |  | 0
|  | c) 40 mm | no | 1 |  | 0
|  | d) 50 mm | no | 1 |  | 0
|  | e) 65 mm | no | 1 |  | 0
Total Carried Forward | [5 empty] | 1000
SCHEDULE F : PIPES AND FITTINGS
Item | Payment | Description | Unit | Qty | Rate | Amount
Nr. | Refer.
|  | Brought Forward |  |  |  | 1000
|  | f) 80 mm | no | 1 |  | 0
|  | g) 100 mm | no | 1 |  | 0
6.7.7 |  | Adaptor galvanised swage
|  | a) 25 mm | no | 1 |  | 0
|  | b) 32 mm | no | 1 |  | 0
|  | c) 40 mm | no | 1 |  | 0
|  | d) 50 mm | no | 1 |  | 0
|  | e) 65 mm | no | 1 |  | 0
|  | f) 80 mm | no | 1 |  | 0
|  | g) 100 mm | no | 1 |  | 0
6.7.8 |  | Socket Galvanised
|  | a) 25 mm | no | 1 |  | 0
|  | b) 32 mm | no | 1 |  | 0
|  | c) 40 mm | no | 1 |  | 0
|  | d) 50 mm | no | 1 |  | 0
|  | e) 65 mm | no | 1 |  | 0
|  | f) 80 mm | no | 1 |  | 0
|  | g) 100 mm | no | 1 |  | 0
6.7.9 |  | Equal Tee Galvanised
|  | a) 25 mm | no | 1 |  | 0
|  | b) 32 mm | no | 1 |  | 0
|  | c) 40 mm | no | 1 |  | 0
|  | d) 50 mm | no | 1 |  | 0
|  | e) 65 mm | no | 1 |  | 0
|  | f) 80 mm | no | 1 |  | 0
|  | g) 100 mm | no | 1 |  | 0
Total Carried Forward | [5 empty] | 1000
SCHEDULE F : PIPES AND FITTINGS
Item | Payment | Description | Unit | Qty | Rate | Amount
Nr. | Refer.
|  | Brought Forward |  |  |  | 1000
6.7.10 |  | Galvanised Steel Pipe
|  | a) 25 mm | m | 1 |  | 0
|  | b) 32 mm | m | 1 |  | 0
|  | c) 40 mm | m | 1 |  | 0
|  | d) 50 mm | m | 1 |  | 0
|  | e) 65 mm | m | 1 |  | 0
|  | f) 80 mm | m | 1 |  | 0
|  | g) 100 mm | m | 1 |  | 0
6.7.11 |  | Base plates epoxy coated (split type)
|  | a) 32 mm | no | 1 |  | 0
|  | b) 40 mm | no | 1 |  | 0
|  | c) 50 mm | no | 1 |  | 0
|  | d) 65 mm | no | 1 |  | 0
|  | e) 80 mm | no | 1 |  | 0
6.7.12 |  | Base plates galvanised
|  | a) 32 mm | no | 1 |  | 0
|  | b) 40 mm | no | 1 |  | 0
|  | c) 50 mm | no | 1 |  | 0
|  | d) 65 mm | no | 1 |  | 0
|  | e) 80 mm | no | 1 |  | 0
6.7.13 |  | Other Galvanised Steel Pipes and Fittings
Other Galvanised Steel Pipes and Fittings
not priced in the above Items.
Mark up on other pipes & fitting as specified by
|  | the Engineer (3 Quotations from reputable | PC
|  | suppliers) | Sum | 1 | 1000 | 1000
|  | Mark up on other fitting | % | 1000 |  | 0
TOTAL SCHEDULE F CARRIED FORWARD TO SUMMARY | [5 empty] | 2000

## Ancillary
SCHEDULE G : ANCILLARY WORKS
Item | Payment | Description | Unit | Qty | Rate | Amount
Nr. | Refer.
7 | SANS | ANCILLARY WORKS
7.1 |  | Prefabricated Reservoirs
Prefabricated Galvanized steel water reservoir
complete with roof, 1x inlet including galvanized
steel inlet pipe and fittings, outlet including
valve, overflow, manhole, concrete ring beam
or slab with Engineers Certificate were applicable
and PVC lining in the following size categories:
|  | a) 5 000 to 7 000 Litres capacity | Sum | 1 |  | 0
|  | b) 9 000 to 10 000 Litres capacity | Sum | 1 |  | 0
|  | c) 13 000 to 15 000 Litres capacity | Sum | 1 |  | 0
|  | d) 19 000 to 20 000 Litres capacity | Sum | 1 |  | 0
|  | e) 25 000 to 30 000 Litres capacity | Sum | 1 |  | 0
|  | f) 35 000 to 40 000 Litres capacity | Sum | 1 |  | 0
|  | g) 45 000 to 50 000 Litres capacity | Sum | 1 |  | 0
7.2 |  | Steel Tank Stand
7.2.1 |  | Supply and erect a prefabricated complete elevated
steel tank stand (painted) with Engineers Certificate
suitable for a 10 000 storage tank:
|  | a) 3 meter high for 10 000 litres | Sum | 1 |  | 0
|  | b) 6 meter high for 10 000 litres | Sum | 1 |  | 0
|  | c) 9 meter high for 10 000 litres | Sum | 1 |  | 0
7.2.2 |  | Supply and erect a prefabricated complete elevated
steel tank stand (painted) with Engineers Certificate
suitable for a 5 000 storage tank:
|  | a) 3 meter high for 5 000 litres | Sum | 1 |  | 0
|  | b) 6 meter high for 5 000 litres | Sum | 1 |  | 0
|  | c) 9 meter high for 5 000 litres | Sum | 1 |  | 0
7.2.3 | 1200G | Concrete
Casting of concrete footings, inclusive of
excavations (1m x 1m x 1m per footing)
| 8.4.3 | a) Class 25/19 concrete | m³ | 1 |  | 0
Total Carried Forward | [5 empty] | 0
SCHEDULE G : ANCILLARY WORKS (continue)
Item | Payment | Description | Unit | Qty | Rate | Amount
Nr. | Refer.
|  | Brought Forward |  |  |  | 0
7.3 |  | Polyethylene Water Tank
7.3.1 |  | Supply, erect and anchored elevated polyethylene
water tank onto tank stand (3,6 & 9m high):
|  | a) 10 000 litre tank | sum | 1 |  | 0
|  | b) 5 000 litre tank | sum | 1 |  | 0
7.3.2 |  | Supply and Install a 40mm float valve at the
|  | inlet of the tank | no | 1 |  | 0
7.3.3 |  | Supply install and test all the pipe work and fittings
for an elevated tank installation and connect
|  | to a water supply (10 000 or 5 000 litre tank) | sum | 1 |  | 0
7.4 |  | Drinking Troughs
7.4.1 |  | Supply install and test polyethylene drinking
trough complete with float valve, isolate valve,
and connected to a water supply.
|  | a) 200 to 290 litre trough | sum | 1 |  | 0
|  | b) 300 to 790 litre trough | sum | 1 |  | 0
|  | c) 800 to 1 490 litre trough | sum | 1 |  | 0
|  | d) 1 500 to 2 000 litre trough | sum | 1 |  | 0
|  | e) More than 2 000 litre trough | sum | 1 |  | 0
7.4.2 |  | Supply install and test pre-cast concrete
drinking trough complete with float valve,
isolate valve, and connected to a water supply.
|  | a) 50 to 250 litre trough | sum | 1 |  | 0
|  | b) 260 to 800 litre trough | sum | 1 |  | 0
|  | c) More than 1 000 litre trough | sum | 1 |  | 0
7.5 |  | Other Relevant Equipment
Other relevant equipment not priced in the above
Items. Mark up on equipment as specified by
|  | the Engineer (3 Quotations from reputable | PC
|  | suppliers) | Sum | 1 | 50000 | 50000
|  | Mark up on other relevant equipment | % | 50000 |  | 0
TOTAL SCHEDULE G CARRIED FORWARD TO SUMMARY | [5 empty] | 50000

## Summary
LIMPOPO DEPARTMENT OF AGRICULTURE AND RURAL DEVELOPMENT
A 3-Year Framework Agreement for the Drilling, Testing and Equipping of Boreholes
SUMMARY OF SCHEDULE OF QUANTITIES AND CALCULATION OF CONTRACT AMOUNT
SCHEDULE | DESCRIPTION | AMOUNT
SCHEDULE A | PRELIMINARY AND GENERAL ITEMS | 120000
SCHEDULE B | DRILLING OF BOREHOLES | 0
SCHEDULE C | TESTING OF BOREHOLES | 0
SCHEDULE D | PUMPS | 0
SCHEDULE E | ELECTRICAL | 50000
SCHEDULE F | PIPES AND FITTINGS | 2000
SCHEDULE G | ANCILLARY WORKS | 50000
TOTAL SCHEDULE OF QUANTITIES |  | 222000
ADD 10% CONTINGENCIES |  | 22200
SUB TOTAL |  | 244200
ADD 15% VAT |  | 36630
TOTAL TENDER AMOUNT |  | 280830