## A1
LIMPOPO DEPARTMENT OF AGRICULTURE AND RURAL DEVELOPMENT
CONSTRUCTION OF CHILI PEPPER DRYING FACILITY AT ROYAL FIELDS FARM UNDER MUSINA LOCAL MUNICIPALITY IN VHEMBE DISTRICT OF LIMPOPO PROVINCE
Preliminary and Generals
Item No | Payment | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
SECTION A: Preliminary and Generals
SCHEDILED FIXED CHARGE AND VALUE REALATED ITEMS
A1 |  | Fixed Preliminary and General Charges: All fixed charge contractual requirements not limited to contract administration, safety, site establishment, tools and equipment, sanitation, accomodation, power and portable water,telephone, transport, deestablishment, etc | sum | 1
A2 |  | Value Related Preliminary and General Charges. All value charge | sum | 1
A3 |  | SCHEDULED TIME-RELATED ITEMS
|  | Time Related Preliminary and General ChargesAll time related contractual requirements not limited to contract administration, safety, site establishment, insurance, sanitation, tools and equipment, accomodation, power and portable water,telephone, transport, deestablishment, health and saftey obligations etc | Month | 5
A4 |  | PROVISIONS BY THE ENGINEER
A4.1 |  | CLO | Month | 5 | 5000 | 25000
A4.2 |  | Mark-up on provisional sums | % | 25000
A4.3 |  | Testing of services as directed by the engineer | Prov Sum | 1 | 10000 | 10000
A4.4 |  | Overheads, charges and profit on subitems above | % | 10000
A4.5 |  | Works executed by Nominated Subcontractors (ESKOM) | Prov Sum | 1 | 800000 | 800000
A4.6 |  | Overheads, charges and profit on subitems above | % | 800000
Total Carried Forward To Forward

## A2
LIMPOPO DEPARTMENT OF AGRICULTURE AND RURAL DEVELOPMENT
CONSTRUCTION OF CHILI PEPPER DRYING FACILITY AT ROYAL FIELDS FARM UNDER MUSINA LOCAL MUNICIPALITY IN VHEMBE DISTRICT OF LIMPOPO PROVINCE
Preliminary and Generals
Item No | Payment | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
SECTION A: Preliminary and Generals
Brought forward
A5 |  | Occupational Health and Safety
A5.1 |  | Without limiting the generality of the provisions, of clause 4.3.1 of the GCC second edition 2010,the contractor's attention is drawn to the provisions of the following regulations: Construction Regulations, 2014 issued in terms of the Occupational Health and Safety Act (Act No 85 of 1993) as amended. The employer reserves the right to take any action should any of the breaches on above regulations and / or the Employer's Requirements come to their notice, including the provision of and insistence on the use of hard hats, overalls, ear protection plugs, eye protection goggles, reflective safety vests, gloves, safety boots, belted safety harnesses, etc by any person on the site, the cost for purchase of which will be borne by the purchase of which will be borne by the contractor. | Sum | 1
A6 |  | Environmental Management Plan Adhering to the requirements as set out in Section C3.3 Part D | Sum | 1
A7 |  | Auditing of Compliance by the Contractor to the
A7.1 |  | Provisional sum for appointment of OSH auditor on behalf of the LDARD to conduct monthly visits as well as present reports at monthly meeting | Prov Sum | 1 | 50000 | 50000
A7.2 |  | Overheads, charges and profit on item above | % | 50000
Total Carried Forward To Summary

## B1
LIMPOPO DEPARTMENT OF AGRICULTURE AND RURAL DEVELOPMENT
CONSTRUCTION OF CHILI PEPPER DRYING FACILITY AT ROYAL FIELDS FARM UNDER MUSINA LOCAL MUNICIPALITY IN VHEMBE DISTRICT OF LIMPOPO PROVINCE
Item No | Payment | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
SECTION B: BUILDING WORKS
Carry out the following operation as applicable: Manufacture, supply, deliver, install, commission, test and attend to defects for the following items:
B1 |  | EARTHWORKS
B1.1 |  | Clear and grub | m2 | 300
B1.2 |  | Remove and grub large trees and tree stumps of girth: up to 1,0 m | No | 2
B1.3 |  | Remove topsoil to nominal depth of 150 - 200 mm and stockpile or dispose (as directed by Engineer) | m² | 300
B1.4 |  | Excavate foundation to hard soil, 600x600 mm | m³ | 26
B1.5 |  | Excavate for footing to hard soil, 1200x700 mm | m³ | 11
B1.6 |  | Spray cleaned area up to 2m outside the building perimeter and inside trenches with pesticide to prevent termites from nesting | m² | 320
B1.7 |  | Stock pile waste material on site to be determined by engineer | m³/km | 5
B2 |  | Earth filling (G7 material) supplied by the contractor
compacted to 98% Mod AASHTO density
B2.1 |  | Under floors | m3 | 90
B2.2 |  | Termite treatment or soil poisoning by safe and effective specialist with Chlordane or Aldrin type termite soil insecticide all in accordance with SABS 0124-1977: Under solid floors including forming furrows against foundation walls, etc. and filling in furrows | m² | 180
B3 | SABS 1200 G | REINFORCED CONCRETE CAST AGAINST EXCAVATED SURFACES
B3.1 |  | SMOOTH FORMWORK (DEGREE OF ACCURACY II)
B3.1.1 |  | Columns | m2 | 30
B3.2 |  | 25MPa/19mm concrete
B3.2.1 |  | Bases, strip footings, columns, surface beds | m³ | 60
B3.3 |  | 15Mpa/19mm concrete
B3.3.1 |  | Blinding layer under bases, apron | m³ | 15
B4 |  | REINFORCEMENT
Mild and high steel reinforcement to structural concrete work
B4.1 |  | Type 245 fabric reinforcement in concrete surface beds | m² | 180
Weld mesh brickforce on every second row foundation and third row on super structure in the following width
B4.2 |  | a) 230 mm | m | 690
B5 |  | SCREEDS
Cement screed finished with a steel float
B5.1 |  | 40mm Average thick screed to floors to falls | m2 | 180
Total Carried Forward

## B2
LIMPOPO DEPARTMENT OF AGRICULTURE AND RURAL DEVELOPMENT
CONSTRUCTION OF CHILI PEPPER DRYING FACILITY AT ROYAL FIELDS FARM UNDER MUSINA LOCAL MUNICIPALITY IN VHEMBE DISTRICT OF LIMPOPO PROVINCE
Item No | Payment | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
SECTION B: BUILDING WORKS
brought forward
B6 |  | BRICKWORK
All bricks to be SANS approved. Price to include supply, transport to site including all mortar, pointing, scaffolding and support.
Point finished face bricks: Nebraska Travertine face bricks or similar approved, pointed with recessed horizontal and vertical joints
B6.1 |  | a) 230 mm wide brick wall | m² | 105
Walling with clay stock bricks on the inside (NFP type) and pointed finish face bricks on the outside (FBS type), all to SANS 227
B6.2 |  | a)Point finished face bricks on the outside of the wall | m² | 34
B6.3 |  | b) Stock clay bricks on the inside of the double wall | m² | 33
Walling with clay stock bricks on the foundation(NFP type)
B6.4 |  | a) 230 mm wide brick wall | m² | 25
B7 |  | WATERPROOFING
One layer of 250 micron "Consol Plastics Gunplas USB Green" waterproof sheeting sealed at laps with "Gunplas Pressure Sensitive Tape"
B7.1 |  | Under surface bed | m2 | 180
One layer of 375 micron "Consol Plastics Brikgrip DPC" embossed damp proof course
B7.2 |  | In 230 mm walls | m | 21
B8 |  | Capentry
Doors
Supply & install standard heavy duty double solid wooden door with steel frame, complete with Cylinder sashlock CP lock, chromium plated handles, door stoppers
B8.1 |  | a) 1613 x 2032mm | No | 1
B8.2 |  | Supply deliver and install Store room ceiling using shutter ply boards wooden ceiling 18 to 22mm thick fixed on 156x38mm no joint beams, price must include nails, other accessories etc. | m2 | 10
Total Carried Forward

## B3
LIMPOPO DEPARTMENT OF AGRICULTURE AND RURAL DEVELOPMENT
CONSTRUCTION OF CHILI PEPPER DRYING FACILITY AT ROYAL FIELDS FARM UNDER MUSINA LOCAL MUNICIPALITY IN VHEMBE DISTRICT OF LIMPOPO PROVINCE
Item No | Payment | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
SECTION B: BUILDING WORKS
brought forward
Manufacture, Supply & install steel frame residential windows including factory fitted burglar proofing, glazing, including all ironmongery, screws, etc. and Glazing with 4mm clear float glass to panes not exceeding 0.1m²
B8.3 |  | Window type NE4 | No | 2
B9 |  | PAINTWORK
PAINTWORK ON BRICK WALL
Apply two coats clear varnish
B9.1 |  | On internal walls | m2 | 50
B9.2 |  | On external walls | m2 | 90
ON WOOD SURFACES
One coat primer of clear Varnish
B9.3 |  | On doors | m2 | 4
B10 |  | Water and Drainage Sink
B10.1 |  | Supply, deliver and install free standing stainless steel sink double bowl 1700mm. | no | 1
B10.2 |  | Supply and deliver and install 50 mm drainage pipe to connect sink and 110 mm pipe, price must include sink trap, elbows, tee etc. | m | 6
B10.3 |  | supply deliver and install 110 drainage pipe to exiting septic tank, price must include excavations, backfill, elbow etc. | m | 50
B11 | SANS 1200H, HA, 121 | STEEL SHED AND ROOFING
B11.1 |  | Supply, fabricate, surface preparation, shop priming, delivery to site & installation of 11m wide, 16m long and 3.5m high steel structure. Including all necessary purlins, columns, rafters, bracing sections, cleats, brackets, gussets, nuts, bolts, washers, etc to complete the shed as per provided drawings. Use IPE 160 for columns and rafter, purlins 100 x 75 x20x2 lipped channels, Engineering certificate must be produced if different design is used, otherwise boiler maker certificate must be produced if provided drawing is used. | sum | 1
B11.2 |  | Painting on site of steel structure after erection with one coat universal undercoat and two coats gloss enamel applied on site after erection, including for touch-up work and preparation required before painting. | sum | 1
B12 |  | ROOF SHEETING
B12.1 |  | Supply and fix including all fixing screws, IBR 0.55mm thick Chromadek traffic green coated on the Roof to sandwich the insulation for roof, etc. for a 11x16m building as per provided drawing. | m² | 240
B13 |  | INSULATION
B13.1 |  | Supply and install the following Alububle roof expanded Polystyrene insulation , rate must include all straining wires, etc. spaced according to the manufacturers specifications etc. | m² | 180
Total B Carried summary

## C1
LIMPOPO DEPARTMENT OF AGRICULTURE AND RURAL DEVELOPMENT
CONSTRUCTION OF CHILI PEPPER DRYING FACILITY AT ROYAL FIELDS FARM UNDER MUSINA LOCAL MUNICIPALITY IN VHEMBE DISTRICT OF LIMPOPO PROVINCE
Item No | Payment | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
SECTION 3: EQUIPMENT
Carry out the following operation as applicable: Manufacture, supply, deliver, install, commission, test and attend to defects for the following items:
C1 |  | DRYER
C1.1 |  | Allow a provisional sum for the procurement and installation of fruit dryer equipment with 1 ton output per 16hr, 900 trays, drying area 486m2, fans 5, element 48, electrical panel equipped with isolator, circuit breakers, fan contactor, emergency stop, PLC with pre-loaded software, temperature and humidity sensor, digital timer, UPS, inlet and exhaust damper from nominated manufacturer. | Prov sum | 1 | 1300000 | 1300000
C1.2 |  | Profit on above item | % | 1300000
C2 |  | CUTTER
C2.1 |  | VEG PREP Machine - (300 Servings) with Stainless steel mobile stand with container for tools with automatic stainless steel feed head, pusher feed head capacity 3 litres with integrated cylindrical hopper, adjustable cart GN1x1, two containers GN1x1 with multi cut pack 16 | no | 1
C2.2 |  | Slicer 3mm CL50/CL60/R502 | no | 1
C2.3 |  | Slicer 4mm CL50/CL60/R502 | no | 1
C3 |  | COLDROOM
Carry out the following operation as applicable: Manufacture, supply, deliver, install, commission, test and attend to defects for the following items:
C3.1 |  | Temperature Range: Programmable set point from +25°C to +4°C Capacity: Approximately 10m , Dimensions Exterior (L x W x H): 6000 x 3000 x 2400 mm, Display / user interface: Push Button LED, 100mm 16 DV White Chromadek Fluted Panels (white), Access Security: Key Lock, Monitoring and sensor compatibility: Thermo Scientific Smart-Vue Compatible, Defrost: Manual, Temperature uniformity: Max variation less than 1°C. Standard swing door equipped with lock & key, safety latch (doors can open from inside even if locked), edge mount hinges. Price must include supply and installation of condensing unit, Thermometer, compressor, Blower Coil Medium Temp. Gas, Control panels, digital temperature control etc. price must include issuing of COC. Note: refrigeration system equipment (compressor, Condenser etc. | no | 1
3.3.2 |  | Supply and install 4.5 Kg DCP ( ABC Type ) Fire extinguisher | no | 2
Total C Carried summary

## D1
LIMPOPO DEPARTMENT OF AGRICULTURE AND RURAL DEVELOPMENT
CONSTRUCTION OF CHILI PEPPER DRYING FACILITY AT ROYAL FIELDS FARM UNDER MUSINA LOCAL MUNICIPALITY IN VHEMBE DISTRICT OF LIMPOPO PROVINCE
Item No | Payment | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
SECTION 4: ELECTRICAL WORKS
Carry out the following operation as applicable: Manufacture, supply, deliver, install, commission, test and attend to defects for the following items:
D1 |  | ELECTIRCAL CONNECTIONS
D1.1 |  | Allow provisional sum for connecting packing shed to newly buildt distribution kiosk complete with COC (design for electrical wiring, light fittings, switches, plugs, connection to main DB, as per engineer's instructions). | Prov sum | 1 | 20000 | 20000
D1.2 |  | Overheads, charges and profit on subitems above | % | 20000
D2 |  | LIGHTING INSTALLATION
D2.1 |  | Outdoor floodlight 50W LED | no | 4
D2.2 |  | 2x36W T5 Surface mounted Protected Light Fitting | no | 4
D3 |  | Distribution kiosk
D3.1 |  | Supply, deliver and install a Double Door Cabinet Db`s - Surface & Weatherproof - IP65 - with provision for side isolator of - up to 250 A - 35 KA - pad lockable - 1.6mm M/Steel DINRAIL 3 X 24 DIN, price must include 160A, 100A, 60A Circuit breakers, all cable required for connection from Eskom kiosk to distributing kiosk and to dryer, size up to 35mm2 (5 m away) | Sum | 1
D3.2 |  | Cable from Eskom metering kiosk to Districbution kiosk, and from distribution kiosk to Dryer size From to 25 mm2 to 35 mm2 | m | 1
D3.3 |  | Cable from distribution kiosk to Main DB building, size Up to 6 mm2 | m | 1
D4 |  | Commissioning of dryer
D4.1 |  | Supply, deliver and offload Chillie pepper, for commisioning of dryer and coldroom | Prov sum | 1 | 10000 | 10000
D4.2 |  | Overheads, charges and profit on subitems above | % | 10000
Total D Carried Forward To Summary

## Summary
LIMPOPO DEPARTMENT OF AGRICULTURE AND RURAL DEVELOPMENT
CONSTRUCTION OF CHILI PEPPER DRYING FACILITY AT ROYAL FIELDS FARM UNDER MUSINA LOCAL MUNICIPALITY IN VHEMBE DISTRICT OF LIMPOPO PROVINCE
BOQ SUMMARY TO FORM CONTRACT AMOUNT
Item | Description | Amount
A | Preliminary and Generals
B | Building Works
C | Equipment
D | Electrical Works
Sub Total
Add 10% Contingencies
Sub Total
Add 15% VAT
TOTAL BID AMOUNT
Contractor Name: ________________________________
Signature : __________________________
Date : _____________________