## Summary
LIMPOPO DEPARTMENT OF AGRICULTURE AND RURAL DEVELOPMENT
TOMPI SELEKA AGRICULTURAL COLLEGE
FISH PROCESSING PLANT
SUMMARY BILL OF QUANTITIES
Section | Description |  | Total Amount | Estimate Amount
No |  |  |  | calcutations
A | Preliminary and General | R |  | 0
B | Earthworks | R |  | 0
C | Water Supply and Sewer | R |  | 0
D | Building | R |  | 0
E | Electricity Supply | R |  | 0
F | Security Fencing | R |  | 0
| Sub-total A | R |  | 0
| Add 10% of above Sub-total A for Contigencies | R |  | 0
| Sub-total B | R |  | 0
| Add 15% VAT to Sub-total B | R |  | 0
| GRAND TOTAL CARRIED TO FORM OF OFFER & ACCEPTANCE | R |  | 0

## Section A - P&G
LIMPOPO DEPARTMENT OF AGRICULTURE AND RURAL DEVELOPMENT
TOMPI SELEKA AGRICULTURAL COLLEGE - FISH PROCESSING PLANT
Item | Payment | Description | Unit | Quantity | Rate | Amount
No | ref.
| SABS 1200A | SECTION A: PRELIMINARY & GENERAL
A1.1 |  | Fixed-Charge Items
A1.1.1 |  | Insurance of Works | sum | 1
A1.1.2 |  | Provide Surety | sum | 1
A1.1.3 |  | Contractual Requirements | sum | 1
A1.1.4 |  | All survey and site control requirements, including setting out and establishing supplementary benchmarks | sum | 1
A1.1.5 |  | Establish facilities on site for Contractor
A1.1.5.1 |  | Storage shed | sum | 1
A1.1.5.2 |  | Furnished 20m² site office | sum | 1
A1.1.5.3 |  | Living accommodation | sum | 1
A1.1.5.4 |  | Ablution and latrine facilities | sum | 1
A1.1.5.5 |  | Tools and equipment (Including Hoists and Scaffolding) | sum | 1
A1.1.5.6 |  | Water supply, electric power and communications | sum | 1
A1.1.6 | PSAA 8.4.3 | Provisioning and Complying with all Operational Health and Safety regulations and obligations for construction purposes, including and not limited to safety file, full time safety officer, PPE, medical kit, health and safety reporting, covid19 respiratory protection gear, non-contact thermometers, hand sanitizer stands, etc. | sum | 1
A1.1.7 |  | Supply Operation and Maintenance Manual | no | 3
A1.1.8 |  | Provision training to beneficiaries and operators (incl. lecturers) by an approved specialist complete with compilation of operational and maintenance manual | PC Sum | 1 | 15000 | 15000
A1.1.9 |  | Mark up of item above | % | 15000
A1.1.10 |  | Construction sign boards c/w health and safety signages | sum | 1
A2.1 |  | Time-Related Items
A2.1.1 |  | Contractual Requirements | Month | 5
A2.2 |  | Operate & maintain facilities on site for Contractor
A2.2.1 |  | Storage shed | Month | 5
A2.2.2 |  | Furnished 20m² site office | Month | 5
A2.2.3 |  | Living accommodation | Month | 5
A2.2.4 |  | Ablution and latrine facilities | Month | 5
A2.2.5 |  | Tools and equipment | Month | 5
A2.2.6 |  | Water supply, electric power and communications | Month | 5
0
A2.3 | 8.4.3 | General Responsibilities and other Time-related Obligations |  |  |  | 0
A2.3.1 | PSAA 8.4.3 | Provisioning and Complying with all Operational Health and Safety regulations and obligations for construction purposes, including and not limited to safety file, full time safety officer, PPE, medical kit, health and safety reporting, covid19 respiratory protection gear, non-contact thermometers, hand sanitizer stands, etc. | Month | 5
A2.3.2 |  | Provision and conduct of COVID19/medical screening of all site visits and labors. | Month | 5
A2.3.3 |  | Provision of Covid19 preventive kit including face mask, hands washing station/sanitizing. | Month | 5
A2.4 | PSAA 8.4.4 | Insurance | sum | 1
0
A2.5 | 8.5 | Sums Stated Provisionally by the Engineer |  |  |  | 0
A2.5.1 |  | Provide a sum for printing of construction drawings and lamination for site office; and site stationery | PC Sum | 1 | 5000 | 5000
A2.5.2 |  | Charges and profit on item A2.5.1 above | % | 5000
A2.5.3 |  | Compensation to CLO appointed from local community | PC Sum | 1 | 22500 | 22500
A2.5.4 |  | Charges and profit on item A2.5.3 above | % | 22500
0
A2.6.5 |  | Provision for conducting professional tests when instructed by the Engineer | PC Sum | 1 | 10000 | 10000
A2.6.6 |  | Charges and profit on item A2.6.5 above | % | 10000
0
A2.6 |  | Occupational Health & Safety Auditor |  |  |  | 0
A2.6.1 |  | Provisional Sum for Appointment of Occupational Health and Safety Auditor on behalf of the LDA. Auditor to conduct 3 visits as well as present report at monthly meeting. | PC Sum | 1 | 35000 | 35000
A2.6.2 |  | % Mark-up on Item B2.8.1 (Not above 5%) | % | 35000
TOTAL: SECTION A CARRIED FORWARD
Item | Payment | Description | Unit | Quantity | Rate | Amount
No | ref.
| SABS 1200A | SECTION A: PRELIMINARY & GENERAL
TOTAL BROUGHT FORWARD
A3.1 |  | Exisiting Services
A3.1.1 |  | - Excavate in soft material to expose existing services | m³ | 50
A3.2 |  | Electricity Related
A3.2.1 |  | Engraved labels on each DB and Kiosk | Sum | 1
A3.2.2 |  | As-Built drawings for electrical installation | Sum | 1
A3.2.3 |  | Certificates of Compliance for complete installation and for each DB | Sum | 1
A3.2.4 |  | Certificate of building earthing and all test results | Sum | 1
0
A3.3 |  | Allowance for Aquaculture Specialist consultations by the engineer and contractor during construction | Prov Sum | 1 | 50000 | 50000
A3.4 |  | Overheads, charges and profit on item A3.5.4.9 (max 2.5%) | % | 50000
A3.5 | 8.2.9 | Site clearance and transportation of materials and debris to unspecified sites and dump | m³.km | 15
A3.6 |  | Rehabilitation of the borrow pit according to the Environmental Management Plan | sum | 1
A4 | SANS 1200A | DAYWORKS
A4.1 |  | Labour Rates
A4.1.1 |  | Daywork Labour
A4.1.2 |  | Contractor's Representative | hour | 1 |  | Rate Only
A4.1.3 |  | Qualified Artisans | hour | 1 |  | Rate Only
A4.1.4 |  | Plumber | hour | 1 |  | Rate Only
A4.1.5 |  | Boilermaker | hour | 1 |  | Rate Only
A4.1.6 |  | Bricklayer | hour | 1 |  | Rate Only
A4.1.7 |  | Plasterer | hour | 1 |  | Rate Only
A4.1.8 |  | Welder with API 1104 Certificate | hour | 1 |  | Rate Only
A4.1.9 |  | Electrician | hour | 1 |  | Rate Only
A4.1.10 |  | Semi-skilled labourer | hour | 1 |  | Rate Only
A4.1.11 |  | Labourer | hour | 1 |  | Rate Only
A4.2 |  | Equipment Rates
A4.2.1 |  | Plant hire : Work Rates on Site
A4.2.2 |  | Crane 20 t - 35 t capacity | hour | 1 |  | Rate Only
A4.2.3 |  | TLB 60 kW - 70 kW | hour | 1 |  | Rate Only
A4.2.4 |  | Bulldozer 160 kW - 170 kW | hour | 1 |  | Rate Only
A4.2.5 |  | Motor graders 150 kW - 160 kW | hour | 1 |  | Rate Only
A4.2.6 |  | Wheel excavators 0,4 - 1,25m³ bucket size | hour | 1 |  | Rate Only
A4.2.7 |  | Water tankers 4 000 - 20 000 litre | hour | 1 |  | Rate Only
A4.2.8 |  | 6m³ Tip trucks | hour | 1 |  | Rate Only
A4.2.9 |  | Plate compactors & tampers | hour | 1 |  | Rate Only
A4.2.10 |  | Dumpers 0,5m³ (Hydraulic tip) | hour | 1 |  | Rate Only
A4.2.11 |  | Mono pump with 80mm DN outlet (diesel driven) 2.2 - 7.5 kW | hour | 1 |  | Rate Only
A4.2.12 |  | Arc-welding unit (300 A) | hour | 1 |  | Rate Only
A4.2.13 |  | 10 kVA (petrol) 220V Generator | hour | 1 |  | Rate Only
A4.2.14 |  | 30 kVA (diesel) 380V - 3ph Generator | hour | 1 |  | Rate Only
TOTAL: SECTION A CARRIED TO SUMMARY

## Section B - Earth
LIMPOPO DEPARTMENT OF AGRICULTURE AND RURAL DEVELOPMENT
TOMPI SELEKA AGRICULTURAL COLLEGE - FISH PROCESSING PLANT
Item | Payment | Description | Unit | Quantity | Rate | Amount
No | ref.
| SABS 1200C, DA & DE | SECTION B: EARTHWORKS
B1 |  | Site Preparation
B1.1 |  | Prepare site to be accessible for excavation, installation and construction works | sum | 1
B2 |  | Earthworks
B2.1 |  | Remove and stockpile 100mm layer of topsoil | m³ | 150
B2.2 |  | Excavate and use to backfill foundations for flush channels and flush pits | m³ | 90
B2.3 |  | Excavate and use to backfill all wall foundations | m³ | 90
B2.4 |  | Backfilling and compaction of excavated material into foundation wall void | m³ | 255
B3 |  | Effluent and Stormwater handling
B3.1 |  | Excavate and stockpile for backfill of effluent handling canals | m³ | 220
B3.2 |  | Excavate and use for backfill of Fat Trap sump | m³ | 5
B3.3 |  | Construction of stormwater handling berm and compact to 95% MOD AASHTO | m³ | 135
B4 |  | Pipe and Power Supply
B4.1 |  | Excavate and use for backfill (excess to spoil) of power supply trench from TF to plant (900mm) | m | 150
B4.2 |  | Excavate in soft and intermediate material and use for backfill (excess to spoil) for trenches, compact for HDPE pipes up to 900mm deep. | m | 265
B4.3 |  | Excavate and use for backfill (excess to spoil) of water supply trenches on site | m | 75
B4.4 |  | Provision of bedding cradle and blanket avaiable and place in trench. | m | 125
B4.5 |  | Excavate and use for backfill (excess to spoil) of water supply trenches on site | m | 75
0
B5 |  | Excess Topsoil Material |  |  |  | 0
B5.1 |  | Levelling of excess stockpile material | m³ | 150
B6 |  | Extra over for
B6.1 |  | Excavation of intermediate material conditions | m³ | 50
B6.2 |  | Excavation of hard rock conditions | m³ | 20
B7 |  | Load and haul Import material from borrow pit on site. Total distance is measured as free haul | m³.km | 250
B8 |  | Termite treatment by safe and effective specialist application of soil insecticide beneath floors for protection from sub-terranean wood destroying termites, all in accordance with SABS 0124-1977 | m² | 750
0
0
0
|  | TOTAL: SECTION B CARRIED TO SUMMARY |  |  |  | 0

## Section C - Water and Sewer
LIMPOPO DEPARTMENT OF AGRICULTURE AND RURAL DEVELOPMENT
TOMPI SELEKA AGRICULTURAL COLLEGE - FISH PROCESSING PLANT
0
Item | Payment | Description | Unit | Quantity | Rate | Amount
No | ref.
| SABS 1200DB, L, LB, LD & LF | SECTION C: WATER SUPPLY & SEWER
C |  | Supply material, equipment and accessories according to plan, SABS & project specifications.
C1 |  | Water reticulation
C1.1 |  | Supply, deliver and install 32mm HDPE class 6 pipe | m | 100
C1.2 |  | Supply, deliver and install 32mm x 110mm saddle | no | 1
C1.3 |  | Supply, deliver and install 32mm compression elbow | no | 2
C1.4 |  | Supply, deliver and install 32mm x 25mm compression male adaptor | no | 2
C1.5 |  | Supply, deliver and install 32mm ball valve | no | 2
C1.6 |  | Provision for the supply, deliver and install all other fittings necessary to connect main supply pipe to processing plant complete with all water reticulation systems intallation and water meter | Prov Sum | 1 | 25000 | 25000
C1.7 |  | Overheads, charges and profit on item C1.6 above | % | 25000
C2 |  | Bottom Effluent Pipe (Drawing 17027-024)
C2.1 |  | Manufacture, deliver and install Bottom Effluent pipe as per drawing. | no | 2
0
C3 |  | Water and Sewer lines |  |  |  | 0
C3.1 |  | Supply, deliver and install Stainless underground Floor Trap and drain as per the engineer's instruction | Prov Sum | 1 | 100000 | 100000
C3.2 |  | Overheads, charges and profit on Items C3.1 to C3.3 above (max 10%) | % | 100000
C3.3 |  | Supply, deliver and install PVC pipe: 110 mm diameter | m | 180
C3.4 |  | Supply, deliver and install PVC elbow: 110 mm diameter | no | 10
C3.5 |  | Supply, deliver and install PVC pipe: T-piece Horisontal 110 mm diameter | no | 6
C3.6 |  | Supply, deliver and install RAS Drain Assembly | no | 4
C3.7 |  | Supply, deliver and install Trench Drain-end Precasted with Gri: Fibre Grating 400 x 700mm | no | 2
C3.8 |  | Supply, deliver and install all plumbing from WC's and kitchen to existing network | Prov Sum | 1 | 10000 | 10000
C3.9 |  | Overheads, charges and profit on Items C3.1 to C3.3 above (max 10%) | % | 10000
C3.10 |  | Water meter c/w necessary connectors | No | 1
0
TOTAL: SECTION C CARRIED TO SUMMARY

## Section D - Build
LIMPOPO DEPARTMENT OF AGRICULTURE AND RURAL DEVELOPMENT
TOMPI SELEKA AGRICULTURAL COLLEGE - FISH PROCESSING PLANT
0
Item | Payment | Description | Unit | Quantity | Rate | Amount
No | ref.
| SABS 1200GA, GB & HB | SECTION D: BUILDING
D |  | Supply material, equipment and accessories according to plan, SABS & project specifications.
See Drawing No. 17027-021
D1 |  | Foundation: Construction and Finishes
D1.1 |  | Supply, deliver, install and construct 10 x Pyramid-Box Anchor Foundation : 400 x 500 x 550 mm | m³ | 2
D1.2 |  | Supply, deliver, install and construct 10 x Foundation Footing - Rectangular : 800 x 400 x 500 mm | m³ | 2
D2.1 |  | Wall foundation: Bearing Footing - 850 x 300 mm
D2.1.1 |  | Formwork | m² | 50
D2.1.2 |  | Concrete 25/19 | m³ | 35
D2.1.3 |  | Wood Floated finish | m² | 120
D2.2 |  | Wall foundation: Bearing Footing - 400 x 300 mm
D2.2.1 |  | Formwork | m² | 5
D2.2.2 |  | Concrete 25/19 | m³ | 3
D2.2.3 |  | Wood Floated finish | m² | 10
D2.3 |  | Wall foundation: Bearing Footing - 600 x 300 mm
D2.3.1 |  | Formwork | m² | 15
D2.3.2 |  | Concrete 25/19 | m³ | 8
D2.3.3 |  | Wood Floated finish | m² | 30
D2.4 |  | Floors: Construction and Finishes (Dwg 17027-004)
D2.4.1 |  | Supply, deliver and install paving complete with compaction to 90% MOD AASHTO and layered ground material, levelling sand, 250 micron PVC/HDPE sheeting and paving blocks | m² | 250
D2.4.2 |  | Supply, deliver, install / construct 150mm Generic Concrete floor complete with expansion joints and sealant
D2.4.2.1 |  | Formwork | m² | 2
D2.4.2.2 |  | Concrete 30/19 | m³ | 5
D2.4.2.3 |  | Wood Floated finish | m² | 5
D2.4.3 |  | Supply, deliver, install/ construct 150mm Structural Concrete floor with 30mm layer Pratliperl insulation or similar approved and Industrial tile finish complete with expansion joints and sealant
D2.4.3.1 |  | Excavation | m³ | 45
D2.4.3.2 |  | Formwork | m² | 60
D2.4.3.3 |  | Concrete 25/19 | m³ | 30
D2.4.3.4 |  | Steel Floated finish | m² | 157
D2.4.3.5 |  | 30mm self levelling screed (Pratliperl or similar approved) | m² | 157
D2.4.4 |  | Supply, deliver, install / construct 150mm High Quality Non Slip Screeded Concrete floor with 30mm layer Pratliperl insulation or similar approved self levelling screed finish complete with expansion joints and sealant
D2.4.4.1 |  | Excavation | m³ | 45
D2.4.4.2 |  | Formwork | m² | 90
D2.4.4.3 |  | Concrete 25/19 | m³ | 45
D2.4.4.4 |  | Steel Floated finish | m² | 209
D2.4.4.5 |  | 30mm self levelling screed (Pratliperl or similar approved) | m² | 209
D2.4.4.6 |  | High Quality Non Slip Screed | m² | 209
D2.4.5 |  | Supply, deliver, install / construct 80mm Structural Concrete floor complete with expansion joints and sealant
D2.4.5.1 |  | Excavation | m³ | 1
D2.4.5.2 |  | Formwork | m² | 2
D2.4.5.3 |  | Concrete 30/19 | m³ | 2
D2.4.5.4 |  | Wood Floated finish | m² | 12
TOTAL: SECTION D CARRIED FORWARD
Item | Payment | Description | Unit | Quantity | Rate | Amount
No | ref.
| SABS 1200GA, GB & HB | SECTION D: BUILDING
|  | BROUGHT FORWARD |  |  |  | 0
D2.4.6 |  | Supply, deliver, install / construct 80mm Concrete apron around structure, 1m wide complete with expansion joints and sealant
D2.4.6.1 |  | Excavation | m³ | 8
D2.4.6.2 |  | Formwork | m² | 160
D2.4.6.3 |  | Concrete 20/19 | m³ | 8
D2.4.6.4 |  | Wood Floated finish | m² | 100
D2.5 |  | Walls: Construction and Finishes (Dwg 17027-020)
D2.5.1 |  | Supply, deliver and install / construct Brickwork 260mm cavity wall (Masonry brick/Paint) complete with mortar, ties etc. Clay bricks to SABS 227-1986 | m² | 150
D2.5.2 |  | Supply, deliver and install / construct Brickwork 260mm cavity wall (Masonry brick/Stocks) complete with mortar, ties etc. Clay bricks to SABS 227-1986 | m² | 25
D2.5.3 |  | Supply, deliver and install / construct Brickwork 260mm cavity wall (Masonry brick/Tiles) complete with mortar, ties etc. Clay bricks to SABS 227-1986 | m² | 125
D2.5.4 |  | Supply, deliver and install / construct Brickwork 260mm cavity wall (Masonry paint both wall sides) complete with mortar, ties etc. Clay bricks to SABS 227-1986 | m² | 35
D2.5.5 |  | Supply, deliver and install / construct Brickwork 260mm cavity wall (Masonry paint / Tiles) complete with mortar, ties etc. Clay bricks to SABS 227-1986 | m² | 85
D2.5.6 |  | Supply, deliver and install / construct Brickwork 260mm cavity wall (Masonry paint both sides) complete with mortar, ties etc. Clay bricks to SABS 227-1986 | m² | 35
D2.5.8 |  | Supply, deliver and install / construct 115mm internal walling (Tiles/Tiles) with clay bricks to SABS 227-1986 | m² | 90
D2.5.9 |  | Supply, deliver and install / construct 130mm (Masonry Paint/Paint) with clay bricks to SABS 227-1986 | m² | 15
D2.5.10 |  | Supply, deliver and install / construct Brickwork 230 mm Clay Brick both Side. Clay bricks to SABS 227-1986 | m² | 25
D2.5.11 |  | Supply, deliver and install / construct Brickwork 230 mm Masonry Brick / Clay Brick. Clay bricks to SABS 227-1986 | m² | 35
D2.5.12 |  | Supply, deliver and install / construct 240mm (Masonry - Paint both sides) with clay bricks to SABS 227-1986 | m² | 25
D2.5.14 |  | Supply, deliver and install / construct 260mm (Masonry Brick / - Paint) with clay bricks to SABS 227-1986 | m² | 45
D2.5.15 |  | Supply, deliver and install / construct 130 mm 25/19 Concrete Wall | m³ | 2
D2.5.16 |  | One Coat cement plaster (1:5 plaster mix)
a) on Brick walls (20mm thick)
|  | i) external | m² | 615
|  | ii) internal | m² | 615
TOTAL: SECTION D CARRIED FORWARD
Item | Payment | Description | Unit | Quantity | Rate | Amount
No | ref.
| SABS 1200GA, GB & HB | SECTION D: BUILDING
|  | BROUGHT FORWARD |  |  |  | 0
D2.5.17 |  | b) on Concrete walls (20mm thick)
|  | i) external | m² | 2
|  | ii) internal | m² | 2
D2.6 |  | Lintel: Construction and finishes
|  | Supply, deliver, install / construct Precast - ER Lintel: ER1 x 5.3m | no | 8
D2.7 |  | Supply, deliver and install / construct window frames complete with glazing and putty and 45 degree brick sills as well as burglar proofing, Wispeco or similar approved
D2.7.1 |  | 600 high x 600 wide 340 casement PT66 window | no | 4
D2.7.2 |  | 600 high x 1800 wide 340 casement PTT186 window | no | 1
D2.7.3 |  | 600 high x 2400 wide 340 casement PTT246 window | no | 1
D2.7.4 |  | 1500 high x 2400 wide 340 casement PTT2415 window | no | 1
D2.7.5 |  | 900 high x 1800 wide HS189 window | no | 1
D2.7.6 |  | 1210 high x 1200 wide Plain Composite Fixed Pane window | no | 2
D2.8 |  | Supply, deliver and install / construct door and door frames complete:
D2.8.1 |  | Create Opening 2134 high x 915 wide | no | 3
D2.8.2 |  | Industrial roller door 2100 high x 2000 wide | no | 1
D2.8.3 |  | Industrial roller door 2400 high x 3010 wide | no | 2
D2.8.4 |  | Supply, deliver and install / construct Hot dipped Galvanised Security Gate 1460 x 2050 | no | 1
D2.8.5 |  | Hot Dipped Galvanised Security Gate 2050 high x 1460 wide fitting an opening of 2125 high x 1500 wide | no | 2
D2.8.6 |  | Single Aluminium glass door with Push Bar - 1800mm high door | no | 3
D2.8.7 |  | External Double Flush Door - 2032 high x 1613 wide. | no | 2
D2.8.8 |  | Internal Double Flush Door - 2032 high x 1613 wide. | no | 1
D2.8.9 |  | Durowin Single Flush Interior Door or similar - 2032 high x 813 wide | no | 4
D2.8.10 |  | Durowin Single Flush Exterior Door or similar - 2032 high x 813 wide | no | 3
D2.8.11 |  | Durowin Single Flush Interior Door or similar - 2032 high x 1010 wide | no | 1
D2.9 |  | Paintwork
D2.9.1 |  | Supply, deliver & apply Contractor's PVA | m² | 450
D2.9.2 |  | Supply, deliver & apply Super Acrylic PVA | m² | 250
D2.9.3 |  | Supply, deliver & apply Enamel Paint | m² | 250
D3.0 |  | Sanitaryware: Construction and Finishes (Dwg 17027-004) Supply, deliver, install / fit complete:
D3.0.1 |  | Sink cabinet: Interglobal Products, SC1350, 1350 x 600mm or similar approved | no | 1
D3.0.2 |  | Shower stall: Libra, COLA 90 (900 x 900) or similar approved | no | 2
D3.0.3 |  | Toilet Domestic: Vaal Sanitaryware - Ecoline cc or similar approved | no | 2
D3.0.4 |  | Urinal: Vaal Sanitaryware - Trento Urinal - Code 5422720IV or similar approved | no | 1
D3.0.5 |  | Toilet Roll Dispenser: Franke 4 roll dispenser, RODX674 or similar approved | no | 2
TOTAL: SECTION D CARRIED FORWARD
Item | Payment | Description | Unit | Quantity | Rate | Amount
No | ref.
| SABS 1200GA, GB & HB | SECTION D: BUILDING
|  | BROUGHT FORWARD |  |  |  | 0
D3.1 |  | Supply, deliver and install / construct ceiling complete. |  |  |  | 0
D3.1.1 |  | Compound ceiling - Iso-Lam 1200 x 4800 grid or similar approved | m² | 375
D3.1.2 |  | Supply, deliver and install / construct Expanded Polystyrene Cornice complete | m | 550
0
D3.2 |  | Structure, Cladding & Sheeting: Construction and finishes. (Drawing 17027-018) |  |  |  | 0
D3.2.1 |  | Supply, deliver, install and construct Pre-fabricated, light weight Galvanized steel roof structure complete with Columns, trusses, purlins and fasteners including Engineers Certificate. | Prov Sum | 1 | 80000 | 80000
D3.2.2 |  | Supply, deliver, install and construct roofing sheets as instructed by the engineer and Chromadek Fascia to match colour of Insulated Chromadek roof sheet, including measuring and cutting on site, complete with fasteners, rivets and sealing as required as per manufacturers specifications. | Prov. Sum | 1 | 80000 | 80000
|  | Overheads, charges and profit on item D3,2,1 and D3,2,2 above | % | 160000
D3.2.3 |  | Supply, deliver, install and construct Industrial Gutters with down pipes complete. | m | 75
D3,3
D3,3,1 |  | Provision for the delivery and installation of existing equipment stored in storage (Polokwane) | Prov Sum | 1 | 30000 | 30000
D3,3,2 |  | Overheads, charges and profit on item D3,3 above | % | 30000
D3,3,3 |  | 2-way distance travelled for the delivery of equipment and materials from Polokwane (Ladanna) for up to 1000kg | km | 520
TOTAL: SECTION D CARRIED TO SUMMARY

## Section E - Elec
LIMPOPO DEPARTMENT OF AGRICULTURE AND RURAL DEVELOPMENT
TOMPI SELEKA AGRICULTURAL COLLEGE - FISH PROCESSING PLANT
0
Item | Payment | Description | Unit | Quantity | Rate | Amount
No | ref.
SECTION E: ELECTRICITY SUPPLY
E |  | Supply material, equipment & accessories according to plan. SABS & project specifications.
See Drawing No. 17027 - 019
E1 |  | Main power supply
E1.1 |  | Supply, deliver and install 4 Core 25mm² PVC SWA electric cable from ESKOM transformer to the processing plant | m | 400
E1.2 |  | Supply, deliver and install Distribution boxes | sum | 2
E2 |  | Processing Plant
E2.1 |  | Supply, deliver and install Double pole interior switch, PVC Conduits, wiring and connect to wiring complete per point. | no | 3
E2.2 |  | Supply, deliver and install Waterproof Double pole switch, PVC Conduits, wiring and connect to wiring complete per point. | no | 7
E2.3 |  | Supply, deliver and install Waterproof Single pole switch, PVC Conduits, wiring and connect to wiring complete per point. | no | 3
E2.4 |  | Supply, deliver and install Triple pole interior switch, PVC Conduits, wiring and connect to wiring complete per point. | no | 2
E2.5 |  | Supply, deliver and install Switched double socket interior, PVC Conduits, wiring and connect to wiring complete per point. | no | 9
E2.6 |  | Supply, deliver and install Switched double socket exterior, PVC Conduits, wiring and connect to wiring complete per point. | no | 1
E2.7 |  | Supply, deliver and install Switched double socket waterproof, PVC Conduits, wiring and connect to wiring complete per point. | no | 13
E2.8 |  | Supply, deliver and install Touchless Hand Dryer: PHT Air Wolf V720 or similar approved, PVC Conduits, wiring and connect to wiring complete per point. | No | 2
E2.9 |  | Supply, deliver and install distribution board and electrical wiring complete , PVC Conduits, wiring and connect to wiring complete per point. | no | 3
E2.10 |  | Supply, deliver and install Side Channel Blower: CR Elec S.A. - HB529 or similar approved, PVC Conduits, wiring and connect to wiring complete per point. | no | 1
E2.11 |  | Supply, deliver and install Dual Eectricty/ Solar Water Heater: Kwikot 250 litre or similar approved, PVC Conduits, wiring and connect to wiring complete per point. | no | 3
E3 |  | Lighting Fittings
E3.1 |  | Supply, deliver and install Industrial Flood Light (FL1002) controlled by Day & Night Switch or similar [One light per switch], PVC Conduits, wiring and connect to wiring complete per point. | no | 4
E3.2 |  | Supply, deliver and install Industrial type 4 foot Fluorescent Light Fitting. Weatherproof YZ-8236-ELC 240V ACDC or similar, PVC Conduits, wiring and connect to wiring complete per point. | no | 11
E3.3 |  | Supply, deliver and install Industrial type 5 foot Fluorescent Light Fitting. Weatherproof YZ-8258-ELC 240V ACDC or similar, PVC Conduits, wiring and connect to wiring complete per point. | no | 21
E3.4 |  | Supply, deliver and install wall mounted Insect light: Viper II 2 x 15W - 380 x 560 x 180 mm , PVC Conduits, wiring and connect to wiring complete per point. | no | 12
E3.5 |  | Supply, deliver and install Industrial light bulkhead, controlled by Day & Night switch (Max two per switch), PVC Conduits, wiring and connect to wiring complete per point. | no | 6
E3.6 |  | Supply, deliver and install Industrial type spot light FL1001, controlled by Day & Night switch (Max two per switch), PVC Conduits, wiring and connect to wiring complete per point. | no | 2
TOTAL: SECTION E CARRIED TO SUMMARY

## Section F - Equip (hidden)
LIMPOPO DEPARTMENT OF AGRICULTURE AND RURAL DEVELOPMENT
TOMPI SELEKA AGRICULTURAL COLLEGE - FISH PROCESSING PLANT
0
Item | Payment | Description | Unit | Quantity | Rate | Amount
No | ref.
| SABS 1200 GA | SECTION F : EQUIPMENT
F |  | Supply material, equipment & accessories according to plan. SABS & project specifications.
F1 |  | Special Equipment
F1.1 |  | Supply, deliver and install HDPE Tank: 3m diameter x 1.2m with centre drain - Custom made | No | 2 | 15000 | 30000
F1.2 |  | Supply, deliver and install Hair-net Dispenser - Type 28211, HT.1066 or similar approved | No | 2 | 1500 | 3000
F1.3 |  | Supply, deliver and install Locker, Mesh 8 door: 380 x 380 mm - Product code PS.04.08.50x25 or similar approved | No | 2 | 1150 | 2300
F1.4 |  | Supply, deliver and install Hygiene Washing Main Station: PHT MS 0440 NeXT complete with all accessories or similar approved | Prov Sum | 1 | 220000 | 220000
F1.5 |  | Overheads, charges and profit on items F1.4 above (Max 5%) | % | 220000 | 0.05 | 11000
F1.6 |  | Supply, deliver and install Hygiene Washing Satelite Station: PHT SU 0150 NeXT complete with all accessories or similar approved | No | 1 | 12500 | 12500
F1.7 |  | Supply, deliver and install Stainless Steel Hose Reel Type AV3500 for item F1.5 above. | No | 1 | 8500 | 8500
F1.8 |  | Supply, deliver and install 25 meter Working Hose pipe for item F1.5 above. | No | 1 | 5500 | 5500
F1.9 |  | Supply, deliver and install 1/2" x 2m Connecting hose for item F1.5 above. | No | 1 | 5500 | 5500
F1.10 |  | Supply, deliver and install Pistol type PHT 12 - 80 including quick connector for item F1.5 above. | No | 1 | 5500 | 5500
F1.11 |  | Supply, deliver and install Boot rack: 1.5 m x 5 pair rack - Stainless Steel Product code PS.10.1007 or similar approved | No | 1 | 950 | 950
F1.12 |  | Supply, deliver and install Coat Rack: H62 Coat Hook for 20 Coats (1700 x 174 x 55 mm) - Product code PS.10.1020 or similar approved | No | 1 | 250 | 250
F1.13 |  | Supply, deliver and install Shoe Rack: 5 pair shoes - Product code PS.10.4001 or similar approved | No | 1 | 1100 | 1100
F1.14 |  | Supply, deliver and install Processing Knife Basket Rack with 5 knifes sets - 5 set rack | No | 2 | 6500 | 13000
F1.15 |  | Supply, deliver and install Industrial laundry equipment (washer and dryer) as per the Engineer's instruction | Prov Sum | 1 | 60000 | 60000
F1.16 |  | Overheads, charges and profit on items F1.15 above (Max 5%) | % | 60000 | 0.05 | 3000
F1.17 |  | Supply, deliver and install Apron Rail: 1.5 m rail with 50 Apron hangers - Product code AE.1009 & PS0.10.5001 or similar | No | 1 | 3000 | 3000
F1.18 |  | Supply, deliver and install Hand Hygiene Station with Turnstile: Mano Control type 23745 automatic disinfectant dispenser or similar approved | No | 2 | 8500 | 17000
F1.19 |  | Supply, deliver and install | No |  |  | 0
F1.20 |  | Supply, deliver and install Hygiene Station: PHT Star Clean III (3/3) Type 23881 or similar approved | No | 1 | 31400 | 31400
F1.21 |  | Supply, deliver and install Franke Stainless Steel Table 304 - 1500 x 650 mm Code 359508 or similar approved | No | 2 | 12500 | 25000
F1.22 |  | Supply, deliver and install Franke Stainless Steel Table 304 - 2400 x 650 mm Code 359526 or similar approved | No | 2 | 12500 | 25000
F1.23 |  | Supply, deliver and install Franke Stainless Steel Table 304 & Sink: S1 Catering Sink - 1500 x 650 mm or similar approved | No | 2 | 18500 | 37000
|  | TOTAL: SECTION F CARRIED FORWARD |  |  |  | 520500
Item | Payment | Description | Unit | Quantity | Rate | Amount
No | ref.
| SABS 1200 GA | SECTION F : EQUIPMENT
|  | BROUGHT FORWARD |  |  |  | 520500
F1.24 |  | Supply, deliver and install Roller Conveyor: 1m Roller | No | 1 | 15000 | 15000
F1.25 |  | Supply, deliver and install Roller Conveyor: 3m Roller | No | 2 | 18000 | 36000
F1.26 |  | Supply, deliver and install Electronic Scale BWS BB-4050-1 - Floor type (60kg x 20g) or similar approved | No | 2 | 9500 | 19000
F1.28 |  | Supply, deliver and install Pallet Jack: PHT stainless steel food safe - Product code ST.15.009.N or similar approved | No | 1 | 65000 | 65000
F1.29 |  | Supply, deliver and install Plastic Pallet: PHT food safe 1200 x 800 x 140mm or similar approved | No | 6 | 3500 | 21000
F1.30 |  | Supply, deliver and install Plastic Crate: PHT food safe 520 x 350 x 290 mm Blue or similar approved | No | 12 | 300 | 3600
F1.31 |  | Supply, deliver and install Plastic Crate: PHT food safe 520 x 350 x 290 mm Green or similar approved | No | 12 | 300 | 3600
F1.32 |  | Supply, deliver and install Plastic Crate: PHT food safe 520 x 350 x 290 mm Red or similar approved | No | 12 | 300 | 3600
F1.33 |  | Supply, deliver and install Bucket Trolley: PHT food safe Bucket trolley or similar approved | No | 2 | 5000 | 10000
F1.34 |  | Supply, deliver and install Otto Bins: 240 l or similar approved | No | 4 | 4300 | 17200
F1.35 |  | Supply, deliver and install Stainless Steel waste basket: PS.10.1009, 250 x 250 x 300 mm or similar approved | No | 2 | 1200 | 2400
F1.36 |  | Supply, deliver and install Soap Dispenser Stainless Steel: PRT Manotizer Type 23704 or similar approved | No | 2 | 3500 | 7000
F1.37 |  | Supply, deliver and install Bench Hygiene Lobby: 2000 x 457 x 356 mm - Product code AE.1001 or similar approved | No | 1 | 1800 | 1800
F1.38 |  | Supply, deliver and install PHT Stainless Steel Washing Basin: Aquaflow 20550-W (445 x 425mm) or similar approved | No | 2 | 4400 | 8800
F1.39 |  | Supply, deliver and install PHT Stainless Steel Double Washing Basin: Aquaflow 20550-2W (445 x 800mm) or similar approved | No | 1 | 3800 | 3800
0
F2 |  | Other Equipment |  |  |  | 0
F2.1 |  | Supply, deliver and install Shelf Unit 4-tier: 400 x 1800mm | No | 1 | 3200 | 3200
F2.2 |  | Supply, deliver and install Shelf Unit 4-tier: 400 x 3000mm | No | 2 | 3200 | 6400
F2.3 |  | Supply, deliver and install fixed Work Station Cubicle: 2438 x 600mm | No | 1 | 3200 | 3200
F2.4 |  | Supply, deliver and install fixed Counter top: 600 mm Depth | No | 1 | 3200 | 3200
0
F3 |  | Delivery and Instalation of Existing Equipment |  |  |  | 0
F3.1 |  | Provision for installation of existing equipment, complete with transportation from the container in Polokwane to site | PC Sum | 1 | 150000 | 150000
F3.2 |  | Overheads, charges and profit on items F3.1 above (Max 5%) | % | 150000 | 0.05 | 7500
|  | TOTAL: SECTION F CARRIED TO SUMMARY |  |  |  | 911800

## Section F - Fence
LIMPOPO DEPARTMENT OF AFRICULTURE AND RURAL DEVELOPMENT
TOMPI SELEKA AFRICULTURAL COLLEFE - FISH PROCESSINF PLANT
Item | Payment | Description | Unit | Quantity | Rate | Amount
No | ref.
SECTION G : SECURITY FENCING
F |  | Supply material, equipment & accessories according to plan. SABS & project specifications.
See Drawing No. 17027 - 001 & (SD)022
F1 |  | Fence
F1.1 |  | Erect security fence, complete as per detail drawing | m | 350
F1.2 |  | Diamond mesh anchoring - 20 Mpa/19mm concrete | m³ | 15
F2 |  | Car Ports: Construction and finishes
F2.1 |  | Manufacture / Supply, deliver and install Car ports - Arched type | sum | 3
F3 |  | Provision for supply and install gates as per engineer's instruction | Prov Sum | 1 | 5000 | 5000
|  | Overheads, charges and profit on item D3,3,1 and D3,3,2 above | % | 5000
|  | TOTAL: SECTION G CARRIED TO SUMMARY |  |  |  | 0

## Sheet H - Dayw (hidden)
LIMPOPO DEPARTMENT OF AGRICULTURE AND RURAL DEVELOPMENT
TOMPI SELEKA COLLEGE PROCESSING PLANT PROJECT
Item | Payment | Description | Unit | Quantity | Rate | Amount | Quantity | Rate | Amount
No | ref. |  |  |  | 2015 | 2015 |  | 2020 | 2020
SECTION I : DAYWORKS
H
H1 |  | DAYWORKS LABOUR
H1.1.1 |  | Contractor's Representative | h | 15 | 65 | 975 |  | 81.7006 | 0
H1.1.2 |  | Surveyor | h | 15 | 65 | 975 |  | 81.7006 | 0
0
H1.1.3 |  | Qualified Artisan: |  |  |  | 0
H1.1.3.1 |  | Plumber | h | 15 | 45 | 675 |  | 56.5619 | 0
H1.1.3.2 |  | Boilermaker | h | 15 | 45 | 675 |  | 56.5619 | 0
H1.1.3.3 |  | Bricklayer | h | 15 | 35 | 525 |  | 43.9926 | 0
H1.1.3.4 |  | Plasterer | h | 15 | 25 | 375 |  | 31.4233 | 0
H1.1.3.5 |  | Welder with API 1104 Certificate | h | 15 | 45 | 675 |  | 56.5619 | 0
H1.1.3.6 |  | Electrician | h | 15 | 100 | 1500 |  | 125.6932 | 0
0
H1.1.4 |  | Foreman, leader hand | h | 15 | 75 | 1125 |  | 94.2699 | 0
H1.1.5 |  | Semi-skilled labourer | h | 15 | 15 | 225 |  | 18.854 | 0
H1.1.6 |  | Labourer | h | 45 | 10 | 450 |  | 12.5693 | 0
0
H1.1.7 |  | Other: |  |  |  | 0
H1.1.7.1 |  | Local Labour | h | 45 | 10 | 450 |  | 12.5693 | 0
H1.1.7.2 |  | Driver | h | 15 | 42 | 630 |  | 52.7911 | 0
H1.1.7.3 |  | Health & Safety Rep | h | 45 | 65 | 2925 |  | 81.7006 | 0
0
H2. |  | Plant Hire: Work Rates on Site |  |  |  | 0
0
H2.1 |  | Crane 65t - 80 t capacity | h | 15 | 350 | 5250 |  | 439.9261 | 0
H2.2 |  | TLB 60 to 70 kW | h | 15 | 225 | 3375 |  | 282.8096 | 0
H2.3 |  | Motor Graders 150 to 160 kW | h | 15 | 250 | 3750 |  | 314.2329 | 0
H2.4 |  | Tow Tractors 200 to 250 kW | h | 15 | 250 | 3750 |  | 314.2329 | 0
H2.5 |  | 5 000 litre Water Tanker | h | 15 | 125 | 1875 |  | 157.1165 | 0
H2.6 |  | 10 000 litre Water Tanker | h | 15 | 250 | 3750 |  | 314.2329 | 0
H2.7 |  | Dump trucks 10 to 15 cubic meter | h | 15 | 250 | 3750 |  | 314.2329 | 0
H2.8 |  | Tip Trucks 6 cubic meter | h | 15 | 150 | 2250 |  | 188.5398 | 0
H2.9 |  | Tip Trucks 10 cubic meter | h | 15 | 180 | 2700 |  | 226.2477 | 0
H2.10 |  | Flat bed trucks 5t | km | 300 | 6.5 | 1950 |  | 8.1701 | 0
H2.11 |  | Flat bed trucks 7t | km | 300 | 6.5 | 1950 |  | 8.1701 | 0
H2.12 |  | LDV 2 WD | km | 300 | 5 | 1500 |  | 6.2847 | 0
H2.13 |  | Plate compacter and tampers | h | 15 | 125 | 1875 |  | 157.1165 | 0
H2.14 |  | Self propelled vibrating roller (smooth) | h | 15 | 185 | 2775 |  | 232.5324 | 0
H2.15 |  | Walk behind vibrating roller 500 to 630 kg | h | 15 | 185 | 2775 |  | 232.5324 | 0
H2.16 |  | Walk behind vibrating roller 980 to 1350 kg | h | 15 | 185 | 2775 |  | 232.5324 | 0
H2.17 |  | Portable Compressor - Diesel (9 to 10 cubic meters per minute) | h | 15 | 25 | 375 |  | 31.4233 | 0
H2.18 |  | Water pump with 80mm DN outlet (Diesel driven) | h | 10 | 55 | 550 |  | 69.1312 | 0
H2.19 |  | 5 kVA (petrol) 220V | h | 25 | 85 | 2125 |  | 106.8392 | 0
H2.20 |  | 30 kVA (diesel) 380V - 3ph | h | 15 | 250 | 3750 |  | 314.2329 | 0
|  | TOTAL: SECTION I CARRIED TO SUMMARY |  |  |  | 65030 |  |  | 0

## Section H (hidden)
LIMPOPO DEPARTMENT OF AGRICULTURE
0
Item | Payment | Description | Unit | Quantity | Rate | Amount
No | ref.
| SABS 1200C, DA, GA & HB | SECTION H: COMPLETE PROCESSING FACILITY
H |  | Carry out the following operations where applicable: Manufacture, supply, deliver, install, finish-off, commission, test and attend to defects for the following items:
H1 |  | Wall, Floor and Foundation: constuction and finishes
H.1.1 |  | Floors (See Drawing 17027/003) | m³ | 115 |  |  | 3.255
H.1.2 |  | Walls (See Drawing 17027/019) | m² | 660 |  |  | 39.06
H.1.3 |  | Foundations (See Drawing 17027/20) | m³ | 47
77.6
SUB TOTAL: SECTION H CARRIED FORWARD
Item | Payment | Description | Unit | Quantity | Rate | Amount
No | ref.
SUB TOTAL: SECTION H BROUGHT FORWARD
SUB TOTAL: SECTION H CARRIED FORWARD
Item | Payment | Description | Unit | Quantity | Rate | Amount
No | ref.
SUB TOTAL: SECTION H BROUGHT FORWARD
TOTAL: SECTION H CARRIED FORWARD TO SUMMARY
Item | Payment | Description | Unit | Quantity | Rate | Amount
No | ref.
| SABS 1200C, DA, GA & HB | SECTION H: COMPLETE PROCESSING FACILITY
SUB TOTAL: SECTION H CARRIED FORWARD
Item | Payment | Description | Unit | Quantity | Rate | Amount
No | ref.
SUB TOTAL: SECTION H BROUGHT FORWARD
D |  | Supply material, equipment and accessories according to plan, SABS & project specifications.
See Drawing No. 17027-008 & 024
D1 |  | Concrete works (See Drawing 17027 - 008)
D1.1 |  | Effluent channel concrete floors
D1.1.1 |  | Excavation | m³ | 7.5
D1.1.2 |  | Formwork | m² | 17
D1.1.3 |  | Concrete 25/19 | m³ | 1
D1.1.4 |  | Wood Floated finish | m² | 15
D1.2 |  | Fibre Grating
D1.2.1 |  | Excavation | m³ | 5
D1.2.2 |  | Formwork | m² | 60
D1.2.3 |  | Concrete 25/19 | m³ | 3
D1.2.4 |  | Wood Floated finish | m² | 5
D1.3 |  | Expansion joints between pre-casted canals | no | 8
D1.4 |  | 80mm Concrete apron around structure, 1m wide
D1.4.1 |  | Excavation | m³ | 8
D1.4.2 |  | Formwork | m² | 160
D1.4.3 |  | Concrete 25/19 | m³ | 8
D1.4.4 |  | Wood Floated finish | m² | 100
D1.5 |  | 80mm Structural Concrete floor
D1.5.1 |  | Excavation | m³ | 1
D1.5.2 |  | Formwork | m² | 2
D1.5.3 |  | Concrete 30/19 | m³ | 2
D1.5.4 |  | Wood Floated finish | m² | 12
D1.6 |  | 150mm Structural Concrete floor complete with 30mm layer Pratliperl insulation or similar and Industrial tile finish.
D1.6.1 |  | Excavation | m³ | 45
D1.6.2 |  | Formwork | m² | 60
D1.6.3 |  | Concrete 25/19 | m³ | 30
D1.6.4 |  | Steel Floated finish | m² | 157
D1.6.5 |  | 30mm Pratliperl layered screed | m² | 157
D1.6.6 |  | Industrial tiles | m² | 157
D1.7 |  | 150mm High Quality Non Slip Screeded Concrete floor complete with 30mm layer Pratliperl insulation or similar and Screed finish.
D1.7.1 |  | Excavation | m³ | 45
D1.7.2 |  | Formwork | m² | 90
D1.7.3 |  | Concrete 25/19 | m³ | 45
D1.7.4 |  | Steel Floated finish | m² | 209
D1.7.5 |  | 30mm Pratliperl layered screed | m² | 209
D1.7.6 |  | High Quality Non Slip Screed | m² | 209
D1.8 |  | 150mm Generic Concrete floor
D1.8.1 |  | Excavation | m³ | 1
D1.8.2 |  | Formwork | m² | 2
D1.8.3 |  | Concrete 30/19 | m³ | 2
D1.8.4 |  | Wood Floated finish | m² | 12
SUB TOTAL: SECTION H CARRIED FORWARD
Item | Payment | Description | Unit | Quantity | Rate | Amount
No | ref.
SUB TOTAL: SECTION H BROUGHT FORWARD
Brought forward
D1.9 |  | Supply, deliver and install paving complete with compacted and layered ground material, levelling sand, 250 micron PVC/HDPE sheeting and paving blocks | m² | 220
D1.10 |  | Supply, deliver and install door and door frames complete:
D1.10.1 |  | Create Opening 2134 high x 915 wide | no | 3
D1.10.2 |  | Industrial roller door 2100 high x 2000 wide | no | 1
D1.10.3 |  | Industrial roller door 2400 high x 3010 wide | no | 2
D1.10.4 |  | Cold Stoarge Door - Chase Infitting 2169 high x 905 wide | no | 3
D1.10.5 |  | Hot Dipped Galvanised Security Gate 2050 high x 1460 wide fitting an opening of 2125 high x 1500 wide | no | 2
D1.10.6 |  | Single Aluminium glass door with Push Bar - 1800mm high door | no | 3
D1.10.7 |  | External Double Flush Door - 2032 high x 1613 wide. | no | 1
D1.10.8 |  | Internal Double Flush Door - 2032 high x 1613 wide. | no | 1
D1.10.9 |  | Durowin Single Flush Interior Door or similar - 2032 high x 813 wide | no | 6
D1.10.10 |  | Durowin Single Flush Exterior Door or similar - 2032 high x 813 wide | no | 3
D1.10.11 |  | Durowin Single Flush Interior Door or similar - 2032 high x 1010 wide | no | 1
D1.11 |  | Supply, deliver and install window frames complete with glazing and putty and 45 degree brick sills
D1.11.1 |  | Wispeco 600 high x 600 wide 340 casement PT66 window or similar | no | 4
D1.11.2 |  | Wispeco 1200 high x 900 wide 340 casement PT912 window or similar | no | 1
D1.11.3 |  | Wispeco 1200 high x 1800 wide HS1812 window or similar | no | 2
D1.11.4 |  | Wispeco 600 high x 2400 wide 340 casement PT T246 window or similar | no | 1
D1.11.5 |  | Wispeco 900 high x 1800 wide HS189 window or similar | no | 1
D1.11.6 |  | Wispeco 1210 high x 1200 wide Plain Composite Fixed Pane window or similar | no | 3
D1.11.7 |  | Wispeco 1210 high x 2400 wide Plain Composite Fixed Pane window or similar | no | 2
TOTAL: SECTION H CARRIED FORWARD TO SUMMARY
Item | Payment | Description | Unit | Quantity | Rate | Amount
No | ref.
| SABS 1200C, DA, GA & HB | SECTION H: COMPLETE PROCESSING FACILITY
Brought forward
D2 |  | Roof works (See Drawing 17027 - 016)
D2.1 |  | Supply, deliver and install roof complete with steel trusses, purlins. Everything included excluding Item D2.2 below. | m² | 450
D2.2 |  | Supply, deliver and install IBR Isowall (80mm thk) insulated roof sheeting material | m² | 450
D2.3 |  | Supply, deliver and install IBR roof sheeting material | m² | 25
D2.4 |  | Supply, deliver and install Iso-Lam 1200 x 4800 mm grid Compound Ceiling | m² | 350
D2.5 |  | Supply, deliver and install Isowall 1200 x 4800 mm grid Compound Ceiling | m² | 50
D2.6 |  | Supply, deliver and install roof complete - Generator room | m² | 45
D2.7 |  | Supply, deliver and install Carports complete with contrete foundations, structural steel structure and roof covering. | m² | 180
D3 |  | Equipment
D3.1 |  | Supply, deliver and handover to beneficiary 230 litre bins (OTTO) or similar approved | no | 12
D3.2 |  | Supply, deliver and install Franke Stainless Steel Table 304: 2400 x 650mm or similar approved | no | 6
D3.3 |  | Supply, deliver and install Franke Stainless Steel Table 304 & Sink: 1500 x 650mm or similar approved | no | 2
D3.4 |  | Supply, deliver and install Complete Blast Freezer Room 3m x 3m | sum | 1
D3.5 |  | Supply, deliver and install Complete Freezer Room 3m x 3m | sum | 1
D3.6 |  | Supply, deliver and install Complete Cold Storage Room 3m x 3m | sum | 2
D3.7 |  | Supply, deliver and install Speed Queen SWNMN or similar approved industrial type laundry washing machine | no | 1
D3.8 |  | Supply, deliver and install Speed Queen SDE807 or similar approved industrial type laundry drying machine | no | 1
D3.9 |  | Supply, deliver and install Locker - Single: 380 x 380mm | no | 10
D3.10 |  | Supply, deliver and install Bench-Locker Room: 700 x 457 x 356mm | no | 1
D3.11 |  | Supply, deliver and install Bench-Locker Room: 1400 x 457 x 356mm | no | 1
D3.12 |  | Supply, deliver and install PHT DN 100 Double Industrial Drain (Vertical) or similar approved | no | 14
D3.13 |  | Supply, deliver and install Rofo Interceptor Grease Trap: RO GT 2000 or similar approved | no | 1
D3.14 |  | Ice machine | no | 2
D3.15 |  | Supply, deliver and install Side Channel Blower: CR ELEC S.A.- HB529 2.2kW or similar approved | no | 1
D3.16 |  | Supply, deliver and install RAS Drain Assembly (See Drawing 17027 - 008) | no | 2
SUB TOTAL: SECTION H CARRIED FORWARD
Item | Payment | Description | Unit | Quantity | Rate | Amount
No | ref.
SUB TOTAL: SECTION H BROUGHT FORWARD
D1.12 |  | Supply, deliver and install Brickwork (Stretcher bond) Foundation walling with clay bricks to SABS 227-1986
D1.12.1 |  | 230 mm walls | m²
D1.13 |  | Supply, deliver and install Brickwork (Stretcher bond) Foundation cavity walling with clay bricks to SABS 227-1986 complete with 30 mm Pratliperl Insulation filling
D1.13.1 |  | 260 mm walls | m²
D1.14 |  | Supply, deliver and install walling with clay bricks to SABS 227-1986
D1.14.1 |  | 230 mm walls | m² | 65
D1.15 |  | Supply, deliver and install walling with clay bricks to SABS 227-1986 complete with 30 mm Pratliperl Insulation filling
D1.15.1 |  | 260 mm walls | m² | 450
D1.16 |  | Supply, deliver and install 150mm Expanded Polystyrene Isowall | m² | 75
D1.17 |  | Supply, deliver and install internal walling with clay bricks to SABS 227-1986
D1.17.1 |  | 115 mm walls | m² | 90
D1.18 |  | Supply, deliver and install Glass & Aluminium Mullion Curtain Wall | m² | 45
lintels
PLASTER
paint
SUB TOTAL: SECTION H CARRIED FORWARD
Item | Payment | Description | Unit | Quantity | Rate | Amount
No | ref.
| SABS 1200C, DA, GA & HB | SECTION H: COMPLETE PROCESSING FACILITY
H |  | Carry out the following operations where applicable: Manufacture, supply, deliver, install, finish-off, commission, test and attend to defects for the following items:
H1 |  | Wall, Floor and Foundation: constuction and finishes
H.1.1 |  | Floors (See Drawing 17027/003) | m³ | 115
H.1.2 |  | Walls (See Drawing 17027/019) | m² | 660
H.1.3 |  | Foundations (See Drawing 17027/20) | m³ | 47
H2 |  | Cladding & Sheeting (See Drawing 17027/017)
H.2.1 |  | IBR Isowall (80mm thk) insulated roof sheeting (See D2.2) | m² | 420
H.2.2 |  | 0.6mm Chromadek Fascia to match colour of Insulated Chromadek roof sheet, including measuring and cutting on site, complete with fasteners, rivets and sealing as required as per manufactures specifications: | m | 94
H.2.3 |  | Industrial Gutters with down pipes | m | 60
H.2.4 |  | Trusses - Gr. 8 Timber (See D2.1) | no | 19
H.2.5 |  | 76 x 52 Purlins - Gr.5 Timber (See D2.3) | m | 260
H.2.6 |  | Expanded Polystyrene Cornice | m | 300
H3 |  | Building Work
H.3.1 |  | Basic Wall: 260mm Masonry Brick/Paint | m² | 55
H.3.2 |  | Basic Wall: 260mm Masonry Brick/Paint | m² | 12
H.3.3 |  | Basic Wall: 260mm Masonry Brick/Paint | m² | 52
H.3.4 |  | Basic Wall: 260mm Masonry Brick/Paint | m² | 42
H.3.5 |  | Basic Wall: 260mm Masonry Brick/Stocks | m² | 10
H.3.6 |  | Basic Wall: 260mm Masonry Brick/Stocks | m² | 10
H.3.7 |  | Basic Wall: 260mm Masonry Brick/Tiles | m² | 43
H.3.8 |  | Basic Wall: 260mm Masonry Brick/Tiles | m² | 29
H.3.9 |  | Basic Wall: 260mm Masonry Brick/Tiles | m² | 29
H.3.10 |  | Basic Wall: 260mm Masonry Paint both Sides | m² | 34
H.3.11 |  | Basic Wall: 260mm Masonry Paint both Sides | m² | 11
H.3.12 |  | Basic Wall: 260mm Masonry Paint both Sides | m² | 11
H.3.13 |  | Basic Wall: 260mm Masonry Paint/Tiles | m² | 46
H.3.14 |  | Basic Wall: 260mm Masonry Tiles/Tiles | m² | 28
H.3.15 |  | Basic Wall: Interior - 150mm Isowall | m² | 29
H.3.16 |  | Basic Wall: Interior - 150mm Isowall | m² | 9
H.3.17 |  | Basic Wall: Interior - 150mm Isowall | m² | 9
H.3.18 |  | Basic Wall: Interior - 150mm Isowall | m² | 9
SUB TOTAL: SECTION H CARRIED FORWARD
Item | Payment | Description | Unit | Quantity | Rate | Amount
No | ref.
SUB TOTAL: SECTION H BROUGHT FORWARD
H.3.19 |  | Basic Wall: 90mm Tiles/Tiles | m² | 8
H.3.20 |  | Basic Wall: 90mm Tiles/Tiles | m² | 17
H.3.21 |  | Basic Wall: 90mm Tiles/Tiles | m² | 7
H.3.22 |  | Basic Wall: 90mm Tiles/Tiles | m² | 4
H.3.23 |  | Basic Wall: 90mm Tiles/Tiles | m² | 7
H.3.24 |  | Basic Wall: 90mm Tiles/Tiles | m² | 18
H.3.25 |  | Basic Wall: 90mm Tiles/Tiles | m² | 7
H.3.26 |  | Basic Wall: 90mm Tiles/Tiles | m² | 4
H.3.27 |  | Basic Wall: 90mm Tiles/Tiles | m² | 6
H.3.28 |  | Basic Wall: 90mm Tiles/Tiles | m² | 4
H.3.29 |  | Basic Wall: 90mm Tiles/Tiles | m² | 3
H.3.30 |  | Basic Wall: 90mm Tiles/Tiles | m² | 2
H.3.31 |  | Basic Wall: 130mm Masonry Paint/Paint | m² | 2
H.3.32 |  | Basic Wall: 130mm Masonry Paint/Paint | m² | 7
H.3.33 |  | Basic Wall: 220mm Clay Brick both Sides | m² | 1
H.3.34 |  | Basic Wall: 220mm Clay Brick both Sides | m² | 1
H.3.35 |  | Basic Wall: 220mm Clay Brick both Sides | m² | 1
H.3.36 |  | Basic Wall: 220mm Clay Brick both Sides | m² | 1
H.3.37 |  | Basic Wall: 220mm Masonry Brick/Clay Brick | m² | 1
H.3.38 |  | Basic Wall: 220mm Masonry Brick/Clay Brick | m² | 1
H.3.39 |  | Basic Wall: 220mm Masonry Brick/Clay Brick | m² | 1
H.3.40 |  | Basic Wall: 220mm Masonry Brick/Clay Brick | m² | 1
H.3.41 |  | Basic Wall: 220mm Masonry Brick/Clay Brick | m² | 1
H.3.42 |  | Basic Wall: 220mm Masonry Brick/Clay Brick | m² | 1
H.3.43 |  | Basic Wall: 220mm Masonry Brick/Clay Brick | m² | 1
H.3.44 |  | Basic Wall: 220mm Masonry Brick/Clay Brick | m² | 1
H.3.45 |  | Basic Wall: 220mm Masonry Brick/Clay Brick | m² | 1
H.3.46 |  | Basic Wall: 220mm Masonry Brick/Clay Brick | m² | 1
H.3.47 |  | Basic Wall: 220mm Masonry Brick/Clay Brick | m² | 1
H.3.48 |  | Basic Wall: 220mm Masonry Brick/Clay Brick | m² | 1
H.3.49 |  | Basic Wall: 225mm Clay Brick both sides | m² | 5
H.3.50 |  | Basic Wall: 225mm Clay Brick both sides | m² | 2
H.3.51 |  | Basic Wall: 225mm Clay Brick both sides | m² | 5
H.3.52 |  | Basic Wall: 225mm Clay Brick both sides | no | 2
H.3.53 |  | Basic Wall: 225mm Clay Brick both sides | no | 12
H.3.54 |  | Basic Wall: 225mm Clay Brick both sides | no | 6
H.3.55 |  | Basic Wall: 225mm Clay Brick both sides | no | 12
H.3.56 |  | Basic Wall: 225mm Clay Brick both sides | no | 6
H.3.57 |  | Basic Wall: 225mm Clay Brick both sides | no | 5
H.3.58 |  | Basic Wall: 225mm Clay Brick both sides | no | 5
H.3.59 |  | Basic Wall: 225mm Clay Brick both sides | no | 1
H.3.60 |  | Basic Wall: 225mm Masonry Brick/Clay Brick | no | 1
H.3.61 |  | Basic Wall: 225mm Masonry Brick/Clay Brick | no | 7
H.3.62 |  | Basic Wall: 225mm Masonry Brick/Clay Brick | no | 9
H.3.63 |  | Basic Wall: Exterior - Face Brick both Sides | no | 5
H.3.64 |  | Basic Wall: Exterior - Face Brick both Sides | no | 6
H.3.65 |  | Basic Wall: Exterior - Face Brick both Sides | no | 5
H.3.66 |  | Curtain Wall: Glass & Aluminium Mullion | no | 15
H.3.67 |  | Curtain Wall: Glass & Aluminium Mullion | no | 4
H4 |  | Doors
H4.1 |  | Industrial Roller 2100 x 2000mm | no | 1
H4.2 |  | Industrial Roller 3010 x 2400mm | no | 2
H4.3 |  | Door-Cold Storage Chase Infitting 800 x 2150mm | no | 3
H4.4 |  | Single Alu-Glass Door 1100 x 2134mm | no | 1
H4.5 |  | Security Gate 1460 x 2050mm (Galvanised) | no | 2
H4.6 |  | Single Aluminium Glass Door With Push Bar | no | 3
H4.7 |  | External Double Flush Door - RDF7 - 1613 x 2032mm | no | 1
H4.8 |  | Internal Double Flash Door - RDF7 - 1613 x 2032mm | no | 1
H4.9 |  | Durowin Single Flush Interior Door - RDF4 - 813 X 2032mm | no | 6
H4.10 |  | Durowin Single Flush Exterior Door - RDF4 - 813 X 2032mm | no | 3
H4.11 |  | Durowin Single Flush Interior Door - RDF4 - 1010 X 2032mm | no | 1
H4.12 |  | Docking Shelter 3010 x 2400mm | no | 1
SUB TOTAL: SECTION H CARRIED FORWARD
Item | Payment | Description | Unit | Quantity | Rate | Amount
No | ref.
SUB TOTAL: SECTION H BROUGHT FORWARD
H5 |  | Windows (All window sills 45°)
H5.1 |  | Wispeco 600w X 600h: 340 Casement - PT66 - 600w X 600h | no | 4
H5.2 |  | Wispeco 900w X 1200h: 340 Casement - PT912 - 900w X 1200h | no | 1
H5.3 |  | Wispeco 1800w X 1200h: HS1812 - 1800w X 1200h | no | 2
H5.4 |  | Wispeco 2400w X 600h: 340 Casement - PTT246 - 2400w X 600h | no | 1
H5.5 |  | Wispeco 1800w X 900h: HS189 - 1800 x 900mm | no | 1
H5.6 |  | Wispeco - Plain Composite: Fixed Pane - 1200w x 1210h | no | 3
H5.7 |  | Wispeco - Plain Composite: Fixed Pane - 2400w x 1210h | no | 2
H6 |  | Electrical Works (See Drawing 17027 - 018)
H.6.1 |  | Electrical layout complete with distribution box and all necessary meters, switches etc. for: | no | 2
H.6.2 |  | 15 Amp wall plug | no | 18
H.6.3 |  | 1.5m double tube fluorescent light fitting, complete with tubes | no | 32
H.6.4 |  | Insect Light: Wall Mount, 4 x 15 W - 18 inch | no | 8
H.6.5 |  | Spot Light, Industrial: FL1001 | no | 2
H.6.6 |  | Light Bulkhead Industrial: Light Bulkhead Industrial | no | 6
H.6.7 |  | Flood Light, Industrial: FL1002 | no | 4
H.6.8 |  | 16mm² x 4-core Armoured cable. Trench to be 300mm wide x 500mm deep. | m | 80
H7 |  | Paint
H.7.1 |  | Paint to walls as per specifications:
H.7.2 |  | Contractor's PVA | ℓ | 100
H.7.3 |  | Super Acrylic PVA | ℓ | 150
H.7.4 |  | Enamel Paint | ℓ | 160
H.7.5 |  | Paint to open Timber as per specifications: | ℓ | 25
H.7.6 |  | Carbolinium | ℓ | 50
H8 |  | Ablution (See Drawing Sheet 17027 - 21)
H.8.1 |  | Vaal Sanitaryware - Ecoline CC low level pan, complete with cistern and fittings | no | 2
H.8.2 |  | Vaal Sanitaryware -Ceramic Basin Azalea on wall hangers, complete with 2 taps (cold & hot) and fittings | no | 2
H.8.3 |  | Plumbing for potable water (in-house), complete with pipe work & fittings | sum | 1
H.8.4 |  | Plumbing for waste water, complete with pipe work & fittings to septic tank and french drain | sum | 1
H.8.5 |  | Vaal Sanitaryware, Trento Urinal - Code 542720IV | no | 1
H.8.6 |  | Construct french drains to receive outflow from septic tanks | no | 2
H.8.7 |  | Shower fittings & outlet (cold & hot), complete | no | 4
H.8.8 |  | Rofo Stainless Floor Trap: RO 200 V (H) NW100 | no | 14
H.8.9 |  | Install 25mm diam. Class 6 HDPE pipe from portable water connection to bio-security facility, complete with fittings. | m | 60
H.8.10 |  | Shower Stall: 1.1m x 1.1m (Tray & Glass/Alu door) | no | 2
H.8.11 |  | PHT Controlled Personal Hygiene with System | no | 1
H.8.12 |  | JoJo Septic Tank: Heavy Duty 2500ℓ, 4-9 person according to SABS standards | no | 2
H.8.13 |  | PHT Basin 3A04-0530B (Aquaflow) | no | 4
H.8.14 |  | Franke - 4 Toilet Roll Dispenser, RODX674 | no | 2
H.8.15 |  | Soap Dispenser | no | 5
H.8.16 |  | Knee activated Cobra valve with spout (KM1.00) on pedestal (code 359660) | no | 0
H.8.17 |  | Receptacle Towel and Waste Bin: Touch Free-Stainless Steel | no | 4
H.8.18 |  | Turnstile 2100 x 1000 with Biometric scanner | no | 0
TOTAL: SECTION H CARRIED FORWARD TO SUMMARY