## Summary
LIMPOPO DEPARTMENT OF AGRICULTURE AND RURAL DEVELOPMENT
SEKGALE TRADING ENTERPRISE
2X1500 CAPACITY LAYER HOUSE, AN OFFICE BLOCK & WATER RETICULATION
SUMMARY BILL OF QUANTITIES
Bill | Description |  | AMOUNT
No
1 | PRELIMINARY AND GENERAL | R
2 | LAYER HOUSES | R
3 | OFFICE BLOCK | R
4 | WATER RETICULATION | R
| Sub-total A | R
| Add 15% of above Sub-total A (Contingency) | R
| Sub-total B | R
| Add 15% VAT to Sub-total B | R
| GRAND TENDER TOTAL | R

## 1. P & G
ITEM | PAYMENT | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT | Cert 1 |  | Cert 2 |  | Cert 3 |  | Cert 4 |  | Cert 5
[7 empty] | Qnty | Amnt | Qnty | Amnt | Qnty | Amnt | Qnty | Amnt | Qnty
1 |  | PRELIMINARY & GENERAL
| SABS 1200AA | GENERAL (SMALL WORKS)
1.1 | 8.3 | SCHEDULED FIXED-CHARGE AND VALUE RELATED ITEMS
| 8.3.2 | Provision of Facilities on Site
| 8.3.3 | General Responsibilities and Other Fixed Charge Obligations |  |  |  |  | 1 | 0 |  | 0 |  | 0 |  | 0
1,1.1 | 8.3.1 | a) Contractual Requirements | Sum | 1 |  |  | 1 | 0 |  | 0 |  | 0 |  | 0
1,1.2 |  | b) Establishment of site and Facilities required by Contractor: | Sum | 1 |  |  | 1 | 0 |  | 0 |  | 0 |  | 0
1,1.3 | PSAA 8.3.3 | c) Complying with Health and Safety Regulations (Including the supplies of necessities such as PPE, water, ergonomics, cautions and temporary dermacations etc) | Sum | 1 |  |  | 1 | 0 |  | 0 |  | 0 |  | 0
1,1.4 | PSAA 8.3.3 | d) Signboard | Number | 2 |  |  | 0 | 0 |  | 0 |  | 0 |  | 0
1,1.5 | 8.3.4 | e) Removal of Site Establishment | Sum | 1 |  |  | 0 | 0 |  | 0 |  | 0 |  | 0
1.2 | 8.4 | SCHEDULED TIME RELATED ITEMS
1,2.1 | 8.4.1 | a) Contractual Requirements | Months | 5 |  |  | 0.08 | 0 |  | 0 | 0.125 | 0 | 0.04 | 0 | 0.38
| 8.4.2 | Operation and Maintenance of facilities on Site
1,2.2 |  | b) Facilities for Contractor: | Months | 5 |  |  | 0.08 | 0 |  | 0 | 0.125 | 0 | 0.04 | 0 | 0.38
1,2.3 | 8.4.3 | General Responsibilities and other Time-related Obligations |  |  |  |  | 0.08 | 0 |  | 0 | 0.125 | 0 | 0.04 | 0 | 0.38
1,2.4 | PSAA 8.4.3 | c) Complying with Health and Safety Regulations | Months | 5 |  |  | 0.08 | 0 |  | 0 | 0.125 | 0 | 0.04 | 0 | 0.38
1,2.5 | PSAA 8.4.4 | d) Insurance | Months | 5 |  |  | 0.08 | 0 |  | 0 | 0.125 | 0 | 0.04 | 0 | 0.38
1.3 |  | Eskom connection fee | Prov Sum | 1 | 250000 | 250000 | 0 | 0 |  | 0 |  | 0 |  | 0
1,3,1 |  | Mark up on above | % | 250000 |  |  |  | 0 |  | 0 |  | 0 |  | 0
1.4 |  | Soils testing for Civil Engineering Purposes | Prov Sum | 1 | 10000 | 10000 | 0 | 0 |  | 0 | 1 | 10000 |  | 0
1,4,1 |  | Mark up on above | % | 10000 |  |  |  | 0 |  | 0 |  | 0 |  | 0
1.5 |  | Provision for payment of CLO ( 4 months duration) | Prov Sum | 1 | 24000 | 24000
|  | Mark up on above | % | 24000
|  | Total Carried to summary | [5 empty] | 0 |  | 0 |  | 10000 |  | 0 | 0

## 2. Layer House BoQ
ITEM | PAYMENT CLAUSE | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT | Cert 1 |  | Cert 2 |  | Cert 3 |  | Cert 4
2 |  | LAYER HOUSE |  |  |  |  | Qnty | Amnt | Qnty | Amnt | Qnty | Amnt | Qnty | Amnt
2.1 | SABS 1200C | Site clearance
2,1,1 | 8.3.1 | Clear and grub vegetation matter, trees, tree stumps of girth up to 1 m and other plant materials and dispose to a specified location on the farm. | m² | 377 |  |  |  | 0 |  | 0 | 800 | 0 |  | 0
2.2 | SABS1200D | Site preparation
2,2,1 | 8.3.1 | Clear and strip site to a depth not exceeding 150mm | m³ | 33.75 |  |  |  | 0 |  | 0 | 800 | 0 |  | 0
2.3 | 8.3.3 | Restricted excavations
2,3,1 |  | Excavate in all material for column and foundation | m³ | 32.88 |  |  |  | 0 |  | 0 | 35 | 0 |  | 0
2,3,2 |  | Hard rock excavations | m³ | 9.864 |  |  |  | 0 |  | 0 |  | 0 |  | 0
2,3,3 |  | Supply and fill foundation walls with approved soil material from within the farm and compact as per the recommendations | m³ | 4.932 |  |  |  | 0 |  | 0 |  | 0 |  | 0
2.4 | 8.3.4 | Importing of materials
[8 empty] | 0 |  | 0 |  | 0 |  | 0
2,4,1 |  | Import G5 soil material imported from barrow pit and placed in 150mm layers and compacted to 95% Mod AASHTO under concrete bases | m³ | 33.75 |  |  |  | 0 |  | 0 |  | 0 |  | 0
2,4,2 |  | Opening up and closing down of designated barrow pit (As instructed by the Engineer) | sum | 1
2.5 |  | Soil treatment
2,5,1 |  | Spray soil termite and vegetation treatment on cleaned area up to 1,2m outside the building perimeter and inside trenches and under floors with Chlordane or Aldrin type termite soil insecticide all in accordance with SABS 0124-1997. The service must be rendered by a specialist who must issue a certificate for the service rendered. | m² | 312.36
|  | Supply and lay 250 micron PVC water proofing membrane on the floor area. | m² | 225 |  |  |  | 0 |  | 0 | 15 | 0 |  | 0
2.6 | SABS1200G | Concrete works | [5 empty] | 0 |  | 0 |  | 0 |  | 0
2,6,1 |  | Formwork and reinforcement
2,6,1,1 | 8.2.2 | Smooth formwork to column bases | m² | 3.3 |  |  |  | 0 |  | 0 |  | 0 |  | 0
2,6,1,2 | 8.3.2 | High tensile welded mesh, Ref 193 | m² | 225 |  |  |  | 0 |  | 0 | 15 | 0 |  | 0
2,6,1,3 |  | Strip foundation reinforcement | tons | 1
2.7 | 8.4.3 | Concrete strength mix
2,7,1 |  | Class 25/19 for the aprons and ramps | m³ | 70.74 |  |  |  | 0 |  | 0 |  | 0 |  | 0
2,7,2 |  | Class 25/19 for the layer house floor, column bases, and foundation footings | m³ | 35.91 |  |  |  | 0 |  | 0 |  | 0 |  | 0
2.8 | 8.4.4 | Concrete surface finishes
2,8,1 |  | a. Wood- floated finish for the apron and ramp | m² | 13 |  |  |  | 0 |  | 0 |  | 0 |  | 0
2,8,2 |  | b. Power- floated finish for layer houses floor | m² | 225 |  |  |  | 0 |  | 0 |  | 0 |  | 0
2.9 | 8.5 | Joints | [5 empty] | 0 |  | 0 |  | 0 |  | 0
2,9,1 |  | Cut construction, and expansion joints in the layer house concrete slab/floors.Clean & cover construction & expansion joints on the layer floor slab with rubberised bitumen waterproofing emulsion (Super Laykold or similar approved) Floor slabs to have a maximum area of 22,5m² | m | 52
2,9,1 |  | Cut construction & expansion joints at 3m intervals in the apron. | m | 22
2,9,3 |  | Brickwork (foundation walls & superstructure walls including class II mortar) | [5 empty] | 0 |  | 0 |  | 0 |  | 0
|  | Foundation & walls brickwork with clay stock bricks on the inside (NFP type) and pointed finish semi face bricks on the outside (NFX/BLUE MIX type) for the layer house, toilets, septic tank and ramp, all to SABS 227-2007 | [5 empty] | 0 |  | 0 |  | 0 |  | 0
|  | a. Double brick foundation walls (230mm) with stock clay bricks (NFP type, max 14MPa) | m² | 40.8
|  | CARRIED FORWARD | [5 empty] | 0 |  | 0 |  | 0 |  | 0
|  | BROUGHT FORWARD | [5 empty] | 0 |  | 0 |  | 0 |  | 0
ITEM | PAYMENT CLAUSE | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
Total Brought Forward
|  | b. Single brick wall with stock clay bricks (NFP type) for the inside of walls | m² | 106.2 |  |  |  | 0 |  | 0 |  | 0 |  | 0
|  | c. Single brick wall point finished clay bricks (NFX/BLUE MIX type)/semi face bricks on outside of the walls | m² | 106.2 |  |  |  | 0 |  | 0 |  | 0 |  | 0
2.1 |  | Welded mesh brickforce on every course in the foundation walls, every course above lintel level and every three courses for the superstructure walls in the following widths | [5 empty] | 0 |  | 0 |  | 0 |  | 0
|  | a. 110mm | m | 160
[8 empty] | 0 |  | 0 |  | 0 |  | 0
|  | b. 220mm | m | 161
2.11 |  | 375 micron damp proof course sheeting under all walls and foundations
|  | a. 110mm wide | m | 16
[8 empty] | 0 |  | 0 |  | 0 |  | 0
|  | b. 220mm wide | m | 68
[8 empty] | 0 |  | 0 |  | 0 |  | 0
2.12 |  | 2m long pre-stressed lintels above roller shutter door | No | 2
2.13 |  | 2.4m long pre-stressed lintels above windows and doors | No | 6
[8 empty] | 0 |  | 0 |  | 0 |  | 0
2.14 |  | Rendering, Plaster and Painting
|  | One coat cement plaster (1:5 plaster mix) | [5 empty] | 0 |  | 0 |  | 0 |  | 0
|  | a. Plaster (steel float) on internal brick walls (10mm thick) | m² | 113 |  |  |  | 0 |  | 0 |  | 0 |  | 0
|  | b. Paint all inside walls with one coat of PVA and one coat of washable wall paint | m² | 113 |  |  |  | 0 |  | 0 |  | 0 |  | 0
2.15 |  | Closures | [5 empty] | 0 |  | 0 |  | 0 |  | 0
2,15,1 |  | Supply, deliver and install 2400 x 2100mm industrial roller shutter door with a lock set | No | 1
[8 empty] | 0 |  | 0 | 0.98 | 0 |  | 0
2,15,2 |  | Sliding door open-in 2 lever mortice lock double door and heavy duty (1.0) 1600 x 2032 double rebate | No | 1
[8 empty] | 0 |  | 0 |  | 0 |  | 0
2,15,3 |  | Burglar gates for the double doors above with lockable heavy duty ultra locks | No | 1
[8 empty] | 0 |  | 0 |  | 0 |  | 0
2,15,4 |  | Mild steel window frame NE4, 1511 x 654mm high, including glazing and burglar proofing on all panels using 10mm dia burglar bars. | No | 3
2,15,5 |  | Supply, deliver and install double panel steel combination door and frame (2000 x 2032mm) of 2mm mild steel | No | 1
[8 empty] | 0 |  | 0 |  | 0 |  | 0
2.16 | SABS1200H, SABS1200HA,121 | Portal Frame Structure | [5 empty] | 0 |  | 0 |  | 0 |  | 0
2.16.1 |  | Supply,fabricate, surface preparation, shop priming, delivery to site & installation of a 9m wide x 25m long x 4,5m high portal frame structure. Including all necessary columns, footing sizes, rafters, purlins, bracing sections, cleats, brackets, gussets, nuts, bolts, washers and provide structural engineer drawings with an Engineering certificate for the design. | Prov.Sum | 1 | 250000 | 250000 |  | 0 |  | 0 |  | 0 |  | 0
2.16.2 |  | Mark-up over the above item | % | 250000
2.16.3 |  | Galvanised IBR sheeting (0.6mm thick) on both slopes of the portal frame structure allowing 500mm overhang all around the portal frame structure including ridges , full roof screws | m² | 240
2.16.4 |  | Supply, deliver and install Isobubble insulation and straightening wires under roofing sheets inside the structure. | m² | 240
2.16.5 |  | Supply, deliver and install expanded metal sheet with at most 25mmx40mm openings and at least 2,5mm wire thickness | m² | 81.6
2.16.6 |  | Supply, deliver and install 32mmx32mm square tubing (6m) | no | 40
2.16.7 |  | Supply, deliver and install 50 x 50mmx 3 angle iron to connect 50x50mm channel to the beams | m | 60
|  | CARRIED FORWARD | [5 empty] | 0 |  | 0 |  | 0 |  | 0
|  | BROUGHT FORWARD | [5 empty] | 0 |  | 0 |  | 0 |  | 0
ITEM | PAYMENT CLAUSE | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE!
2.17 |  | Electrical Connections to the layerhouse | [5 empty] | 0 |  | 0 |  | 0 |  | 0
2.17.1 |  | Supply, install and commission all electrical installations required to provide power from connection point 150m (10mm 4 core)to the building including all required wiring, conduits, fittings, boards,( 3)switches, (4)plugs, luminaries, (8) flourescent lights with splash proofed covers ,( 4) flood lights and install lights time switch etc, to provide lighting and power to the layer house as directed by the Engineer. All electrical connections must be done by a qualified and experienced artisan/technician. A certificate of compliance (CoC) for electrical installations must be issued by the Contractor. | sum | 1
2.18 |  | Equipment
2.18.1 |  | Supply ,deliver and install 3 tier layer cages unit 2450Lx2100W x 1700(H) complete with feeding trough , header tanksand nipple drinkers linesother accessories | Prov Sum | 1 | 150000 | 150000 |  | 0 |  | 0 |  | 0 |  | 0
2.18.2 |  | Mark-up over the above item | % | 150000
2.18.3 |  | Supply ,deliver and install manifold system(water reticulation) and 200L dosing tank inside the layer house | Sum | 1
2.18.4 |  | Supply ,deliver and install two complete canvas curtains 17,5 m(l) x 3 m(h) for closing sides including winch and cable operated for opening and closing mechanism(550 GSM medium duty pvc curtains) See Drawing for measures. | Sum | 1
2.18.5 |  | Supply ,deliver, install and complete a 10 ton silo-feeder tank, with all the neccesary firrtings | No | 1
[8 empty] | 0 |  | 0 |  | 0 |  | 0
2.18.5 |  | Supply, deliver bolted steel shelving 2210mm (H) x 914 mm (W)x 610mm (D)- 7 shelves supplied as un-assembled powder coated grey | no | 1 |  |  |  | 0 |  | 0 |  | 0 |  | 0
2.18.6 |  | Supply,deliver and install a 10 m x 9 mm spiral retractable hose (10 bar working pressure) complete with a four way nozzle , 20 mm tap and connectors | no | 1
2.18.7 |  | Supply and deliver 9kg fire extinguiseher with heavy duty bracket and mount on wall as directed by the engineer | no | 1
2.19 |  | SIGNAGES | [5 empty] | 0 |  | 0 |  | 0 |  | 0
2.19.1 |  | Supply and install signages for storage and layer house | sum | 1
[8 empty] | 0 |  | 0 |  | 0 |  | 0
|  | TOTAL FOR ONE HOUSES | Total | 1
|  | TOTAL CARRIED OVER TO SUMMARY FOR TWO HOUSES (MULTIPLY THE TOTAL OF 1 HOUSE BY 2) | Total | 2 |  |  |  | 0 |  | 0 |  | 0 |  | 0

## 3. Office Block
ITEM | PAYMENT | DESCRIPTION | UNIT | QUANT. | RATE | AMOUNT
NO. | REFER.
3.1 | SANS | EARTHWORKS
3.1.1 | 8.3.1 | Clear and grub vegetation matter, trees, tree stumps of girth up to 1 m and other cellulose materials and dispose to a specified location on the farm. | m² | 120
| SABS1200D | Site preparation
3.1.2 | 8.3.1 | Clear and strip site to a depth not exceeding 150mm | m³ | 18
1200D
3.2 | 8.3.3 | Excavate in earth for surface trenches
excavate in all materials and use for backfill and dispose access material
3.2.1 |  | Excavate 450 mm wide x 230 mm deep trenches for the internal strip footing foundations and dispose to site | m³ | 8.28
3.2.2 |  | Excavate 700 mm wide x 250 mm deep trenches for the external strip footing foundations and dispose to site | m³ | 15.68
3.3 |  | Extra over item 3.1.3 for;
3.3.1 |  | a) Intermediate excavation | m³ | 7.188
3.3.2 |  | b) Hard rock excavation | m³ | 7.188
3.4 | 8.3.4 | Importing of materials
3.4.1 |  | a) Extra over for importation of G6 materials from commercial sources or borrow pits | m³ | 6
3.5 | SABS | CONCRETE (STRUCTURAL)
| 1200G | Surface beds, aprons and foundations
| 8.2.2 | Scheduled Formwork items
3.4.1 |  | Smooth vertical formwork to the perimeter | m | 28
of the surface bed, 150mm high.
3.4.2 |  | Smooth vertical formwork to the perimeter | m | 28
of the apron slab, 75mm high.
3.5 | 8.3 | Scheduled reinforcement items
3.5.1 |  | a) High tensile steel mesh-Ref 193 for apron,floor and ramps | m² | 48
3.5.2 |  | b) Internal strip foundation Y10 and External strip foundation Y12 | ton | 1
TOTAL CARRIED FORWARD
TOTAL BROUGHT FORWARD
ITEM | PAYMENT | DESCRIPTION | UNIT | QUANT. | RATE | AMOUNT
NO. | REFER. | Brought Forward
3.6 | 8.4.3 | Concrete items
3.6.1 |  | a) Class 25/19 reinforced concrete for surface beds cast in panel of 150 mm thick on waterproofing membrane | m³ | 7.2
3.6.2 |  | b) Class 25/19 reinforced concrete for aprons cast in Panels of 75 mm thick on waterprofing membrane- 500 mm away from the wall edges | m³ | 1.05
3.6.3 |  | c) Class 25/19 reinforced Concrete for ramps cast in panels of 200 mm thick on waterproofing membrane-3000mm x2000mm x 200mm floor | m³ | 1.2
3.6.5 |  | e) Concrete test cubes 150 x 150 x 150 mm | No | 2
3.6.6 |  | d) One layer of SANS 952 compliant waterproof sheeting under surface beds of floor slab, apron and loading ramp 250 micron | m² | 48
3.7 | 8.4.4 | Unformed Surface finish
3.7.1 |  | a) Rough finish for surfaces to receive a screed | m² | 48
3.7.2 |  | b) Wood floated top of concrete to be at a slope(Apron & Ramps) | m² | 17.6
3.8 |  | Ancillary items - Joints in Surface bed for the packshed
3.8.1 |  | a) 10mm Thick jointex filler, 150mm high in | m | 18
isolation joints
3.8.1 |  | (b) Cut construction & expansion joints at 3m intervals in the apron. | m | 26
3.9 | SANS | SOIL POISONING
| 5859 | Soil insecticide
3.9.1 |  | Supply and apply soil poinsing in accordance with SABS/SANS 10124:2006(duinding code of practice) under the foundations, tremches and surface beds | m² | 143
3.10 | PDXX | BRICKWORK
Construct a double brick wall( min 14MPa) from the strip foundations level extending to 150 mm above NGL. Includes 10% bricks breakage. All cement bricks to be 7,5 Mpa and SABS approved
3.10.1 |  | Construct new Office block with a double brick wall (220 mm wide) above ground level, point finished on the outside, using jointed finish face brick wall on the outside and stock brick on the inside. | m² | 84
3.10.2 |  | Foundation brick wall on all sides of the buldings- use stock clay brick on class II mortar (min. 14 MPa) | m² | 42
3.10.3 |  | Brick force-150 mm x 20 m heavy duty SABS wire at every second layer . Rolls of 20m force | m | 420
3.10.4 |  | One layer of 375-micron damp proof course in walls | m | 47
TOTAL CARRIED FORWARD
TOTAL BROUGHT FORWARD
ITEM | PAYMENT | DESCRIPTION | UNIT | QUANT. | RATE | AMOUNT
NO. | REFER. | Brought Forward
3.11 | SANS 10243 | Roof Structure
Provisional truss specifications and assembling shall be according to SANS 10400 L and approved by truss specialist). All purlins to be connect to rafters with hurricane clips at all joints/crossings. All timber to be heat and CCA treated.
3.11.1 |  | Structural frame work using trusses, purlins, bracing, cleats, bolts, nuts with connection plates, an overhang and bolted to each others to complete the works and issue structural engineering certificate for the office block | Prov.Sum | 1 | 75000 | 75000
3.11.2 |  | Mark up on item 3.11.1 | % | 75000
3.12 |  | Profiled metal sheets
3.12.1 |  | Supply and install 0,58 mm IBR or similar approved profiled Z275 fully galvinised sheeting in single lenghts and accessories fixed strictly in accordance with the manufacturer's instructions
3.12.2 |  | Roof covering fixed to purlins | m² | 55
3.13 |  | Lintels
3.13.1 |  | supply,deliver and install precast pre-stressed double wall concrete lintels above doos and windows | m | 9.8
TOTAL CARRIED FORWARD
TOTAL BROUGHT FORWARD
ITEM | PAYMENT | DESCRIPTION | UNIT | QUANT. | RATE | AMOUNT
NO. | REFER. | Brought Forward
3.14 | PDXX | CEILING
3.14.1 |  | Supply and install 4mm "Everite Nu-tec" or similar approved pressed fibre-cement boards with H-type pressed steel jointing strips, Ceilings including timber frame members, 38 x 38mm sawn softwood brandering at 400mm centres for the office block and all neccessary fittings | m² | 48
3.14.2 |  | Provide (200mm x 15mm) barge boards Everite Nutec Grooved Fascia Board and all necessary fittings | m | 30
3.15 |  | INSULATION
3.15.1 |  | (a) Aerolite or similar approved non-combustible light weight fibreglass Glass wool thermal ceiling insulation 12kg/m | m² | 48
3.15.2 |  | (b) supply and deliver air bricks for the store room. | sum | 1
3.17 | PDXX | INTERNAL PLASTER
One coat 1:4 cement plaster finished on brickwork
3.17.1 |  | a) On walls (Internal )-Office | m² | 144
Floor tiling and finishes
3.17.2 |  | 1:4 Cement plaster screeds 30mm thick | m² | 48
3.18 | PDXX | PAINTWORK
Plaster & concrete surfaces interior quality acrylic emulsion paint with smooth sheen appeal
3.18.1 |  | a) On walls (Internal) | m² | 144
Fibre cement surfaces
3.18.2 |  | a) Facia and barge boards | m² | 48
Steel surfaces
3.18.3 |  | One coat of universal under coat and two coats of high gloss enamel paint on all windows and burgler doors | sum | 1
TOTAL CARRIED FORWARD
TOTAL BROUGHT FORWARD
ITEM | PAYMENT | DESCRIPTION | UNIT | QUANT. | RATE | AMOUNT
NO. | REFER. | Brought Forward
3.19 | PDXX | DOORS AND WINDOWS
Supply and install Standard Pressed Metal Door Frame and Door including ironmongery and painting
3.19.1 |  | a) Door and frame with ironmongery (2032mm(h) x 813mm(l)) For half brick wall- Office and Toilets. | No. | 8
3.19.3 |  | c)Supply, deliver and install 1800x2100x230mm sliding door with a combination of a frame and door, 1,2mm thickness,with a lock system and a burglar proof | No. | 1
Top and Side hung Residential Window (opening outwards): complete with pressed steel frame, 4mm thick pane glass and painting of the window frame. For details refer to window schedule W-1.
3.19.4
|  | a) Type NE1 | No. | 4
|  | b) Type NC2 | No. | 3
|  | c) Type NE4 | No. | 2
3.20 | PDXX | IRONMONGERY
3.20.1 |  | a) Supply and install three lever mortice lock sets for all external and lockable doors, Yale or similar approved. | no | 6
3.20.2 |  | b) Supply and install chrome plated Indicator Locks on all toilet doors. | no | 5
3.20.3 |  | c) Supply and install 38mm diameter rubber door stop | no | 6
3.20.4 |  | d) Supply and install toilet roll holders: Econo type | no | 2
3.20.5 |  | e) Supply and install 10mm burglar bars in front of all open windows. | no | 9
3.21 |  | PAA : PLUMBING AND DRAINAGE INSTALLATIONS
3.21.1 |  | a) Supply and construct a septic tank, complete with concrete cover/slab and double brick(SABS Approved clay stock brick, including 10% breakage), extending to the top of the tank with french drain complete with pipes and necessary fittings approved by a certified Plumber | Sum | 1
3.21.2 |  | b) The waste water drainage system shall be tested as described hereunder. The contractor shall provide all necessary testing apparatus, expanding plugs, stoppers, water,smoke composition, any materials required and all labour required for carrying out tests. | Sum | 1
TOTAL CARRIED FORWARD TO SUMMARY

## 4. Water Reticulation
Item | Payment | Description | Unit | Quantity | Rate | Amount
No | ref.
BILL 4: WATER RETICULATION
4 |  | Carry out the following operation as applicable: Manufacture, supply, deliver, install, commission, test and attend to defects the following items: See Drawings
4.1 |  | BOREHOLE EQUIPING
220V, single phase stainless steel submersible pumpset complete with lead out cable and flow inducer (cooling) sleeve
4.1.1 |  | Pump set | Sum | 1
Pump duty (at least Q=0,7 L/s @136m head) Stainless steel impellers. The borehole depth is 120m and Pump inlet depth = 105m
(1) Make……………………………….
(2) Model ……………………………..
(3) Power 3 kW
4.2. |  | Submersible motor 3,0kW, 3.0Amps | No | 1
4.3. |  | Supply and install solar panels complete to power 3 kW pump, Packshed and Layer house with contol box (25 year Perfromace warranty). Provide a COC from the electrical works. | sum | 1
4.4 |  | BOREHOLE PUMP ACCESSORIES
4.4.1 |  | Borehole control panel | no | 1
4.4.2 |  | 10mm nylon safety rope | m | 125
4.4.3 |  | 50mm heavy duty steel base plate | no | 1
4.4.4 |  | Borehole protection cover for the borehole as per drawing LDA/MOSH12 | sum | 1
4.4.5 |  | cable splice kit | no | 1
4.4.6 |  | water meter | no | 1
4.4.7 |  | 50mm Non-return valve | no | 2
4.4.8 |  | 50mm BSP air valve | no | 2
4.5. | SABS 1200 DA, | EXCAVATION AND BACKFILLING
4.5.1 | DB, GA & LB | Excavation in soft and intermediate material for tank stand footings | m3 | 1.536
4.5.2 |  | Excavation for a pipeline from the borehole to the water tank stands and from the water tank stands to the layer houses and Packshed/office (w,d) | m | 242
Total Carried forward
Total Brought forward
4.6 |  | CONCRETE WORKS
4.6.1 |  | 25MPa concrete for tank stand footings | m3 | 1.536
4.6.2 |  | 20MPa for anchor blocks | m3 | 1
4.6.3 |  | 20MPa for borehole cage and slab | m3 | 1
4.6.4 |  | 20MPa for tap slab | m3 | 0.5
4.7. |  | WATER STORAGE
4.7.1 |  | Supply, deliver, and install 10000 L polyethylene water tank, including all pipes, fittings and accessories from the borehole to the tanks. | no | 2
4.7.2 |  | supply and install a 4,5 m Tank stand (Provide Engineer's certificate) | no | 2
4.8 | 8.2.1 | Supply, lay and bed pipes HDPE to SABS 966 complete with couplings
4.8.1 |  | 50mm Class 16 HDPE pipe from the borehole to the tanks | m | 400
Pipe Fittings
4.8.2 |  | 50mm galvanised 90 degree elbow | no | 6
4.8.3 |  | 50mm HDG nipple adaptor | no | 4
4.8.4 |  | 50mm HDG ball valve | no | 2
4.8.5 |  | 50mm x 4.5 m galvanised steel stand pipe | no | 2
4.9. |  | MISCELLENEOUS
4.9.1 |  | PTFE sealing tapes | sum | 1
4.10. |  | WATER TAP
4.10.1 |  | Supply and install a 20mm standpipe with a water tap complete with all fittings and a concrete apron | sum | 2
TOTAL CARRIED TO SUMMARY